## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Rourkela Smart City Limited
Name of Work:Design, Development, Construction Madhusudan Park consisting of Civil works, Architectural works, design of benches, dust bins and Electrical works including decorative lights at Rourkela
Contract No: RSCL-67/17-18/213(3)/Dt.04.06.2018
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Design, Development, Construction of Madhusudan Park consisting of Civil works, Architectural works, design of benches, dust bins and Electrical works including decorative lights at Rourkela | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Dismantling of existing structures like walls, masonry, cementconcrete, Pavement whatever necessary, storing and disposal of dismantling unsuitable material with all leads and lifts upto 5km and stacking the usable materials including cost of all materials, labour, labourcess, royalties, conveyance, applicable taxes and T&P etc. complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001113 | 300 | SQM | 417 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 125100 | 125100 | INR One Lakh Twenty Five Thousand One Hundred Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Earth work in all kind of soil within 50 m. initial lead and 1.5 m initial lift including ressing & breading clods to omaximum 5cm to 7cm & laying in layers not exceding 0.3 M in depth & as per direction of the Engineer-in-charge. | BI01010001010000000000000515BI0100001114 | 4.5 | CUM | 138.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 622.89 | 622.89 | INR Six Hundred & Twenty Two and Paise Eighty Nine Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Earthwork Excavation in hard soil or gravelly soil within 50 mtrs initial lead and 1.5 mtr initial lift including rough dressing and breaking clods to maximum 5 cum to 7 cm and laying in layer not exceeding 3 mtrs in depth including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001115 | 362 | CUM | 166.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 60196.98 | 60196.98 | INR Sixty Thousand One Hundred & Ninety Six and Paise Ninety Eight Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.04 | Supplying and filling in foundation trenches and plinth with sand well watered and rammed in layers not exceeding 23cm in depth with all lead and lift including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in- Charge. | BI01010001010000000000000515BI0100001116 | 72.05 | CUM | 270.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19475.84 | 19475.84 | INR Nineteen Thousand Four Hundred & Seventy Five and Paise Eighty Four Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.05 | Providing and laying plain cement concrete (1:3:6) in foundation and bottom layers of flooring using 20mm thick black hard crusher broken granite metal of approved quality from approved quarry including mixing, lowering, laying and and compacting to proper thickness, watering and curing for the required period, including cost of all material, labour, conveyance, loading and unloading, taxes, royalties, scaffolding, watering, curing, sundries, tools plants, etc., complete as per the direction of the Engineer-in-charge. | BI01010001010000000000000515BI0100001117 | 0.9 | CUM | 4038.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3634.37 | 3634.37 | INR Three Thousand Six Hundred & Thirty Four and Paise Thirty Seven Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.06 | Brick work with Fly ash bricks 23cm x 11cm x 8cm size with dimensional tolerance ± 8 percent in cement mortar (1:6) in foundation and plinth with all lead and lift including cost, conveyance, royalties, taxes of the material, cost of all labour, T&P etc., required for the work complete in all respect as directed by the Engineer-in-Charge. | BI01010001010000000000000515BI0100001118 | 9.92 | CUM | 3404.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33768.67 | 33768.67 | INR Thirty Three Thousand Seven Hundred & Sixty Eight and Paise Sixty Seven Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.07 | Brick work with Fly ash bricks 23cm x 11cm x 8cm size with dimensional tolerance ± 8 percent in cement mortar (1:6) in super structure with all lead and lift including cost, conveyance, royalties, taxes of the material, cost of all labour, T&P etc., required for the work complete in all respect as directed by the Engineer-in-Charge. | BI01010001010000000000000515BI0100001119 | 7 | CUM | 3437.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24062.01 | 24062.01 | INR Twenty Four Thousand &Sixty Two and Paise One Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.08 | Providing and applying 16 mm thick plaster to rough side of wall in cement mortar (1:6) on all types of external surfaces using coarse clean sand including surface preparation, curing both the coats, roughening the first coat for making key for the next coat ,bends, pattas, grooves, drip moulds, etc. and all scaffolding, curing etc., including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001120 | 208 | SQM | 145.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30282.72 | 30282.72 | INR Thirty Thousand Two Hundred & Eighty Two and Paise Seventy Two Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.09 | Providing and applying 12 mm thickplaster to plumb finised side in cement mortar (1:6) on all types of external surfaces using coarse clean sand including surface preparation, curing both the coats, roughening the first coat for making key for the next coat ,bends, pattas, grooves, drip moulds, etc. and all scaffolding, curing etc., including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001121 | 35.52 | SQM | 94.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3340.66 | 3340.66 | INR Three Thousand Three Hundred & Forty and Paise Sixty Six Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | Priming one coat with any approved primer , including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001122 | 450 | SQM | 40.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18193.5 | 18193.5 | INR Eighteen Thousand One Hundred & Ninety Three and Paise Fifty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.11 | Weather coat Painting two coats any approved paint on the outer side wall including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001123 | 450 | SQM | 52.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23454 | 23454 | INR Twenty Three Thousand Four Hundred & Fifty Four Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.12 | Enamel Painting 2 coat with 1 coat primer with any approved paint on Ms grill painting including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001125 | 167 | SQM | 88.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14719.38 | 14719.38 | INR Fourteen Thousand Seven Hundred & Nineteen and Paise Thirty Eight Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.13 | Providing and laying of Plain Cement concrete (1:3:6) with 4cm. Size crusher broken hard Granite metal including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001126 | 56 | CUM | 3515.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 196852.32 | 196852.32 | INR One Lakh Ninety Six Thousand Eight Hundred & Fifty Two and Paise Thirty Two Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.14 | Providing and laying of Plain Cement concrete (1:2:4) with 2cm. Size crusher broken hard Granite metal including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001127 | 0.5 | CUM | 4618.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2309.33 | 2309.33 | INR Two Thousand Three Hundred & Nine and Paise Thirty Three Only
1.15 | Providing strong, rigid, leveled, and plumbed centering and shuttering to required shape and size , for floors with wooden or steel centering materials with all necessary bracing and tiles and supports with leveling centering covered with bituminous paperwith provisions necessary holes and pockets for electrical conduits, pipes, P.H. pipes, for hooks or boxes, switch and board insert plates, clamps and extension bars etc., including dismantling the same after the required interval from the date of casting including cost of all materials, labour, conveyance, loading and unloading, taxes, royalties, scaffolding, watering, curing, sundries, tools and plants, etc., complete as per the direction of the Engineer-in-charge.Roof slab, stair, chaja, shelf, loft, landing, balconies, projections | BI01010001010000000000000515BI0100001128 | 20 | SQM | 327.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6545.2 | 6545.2 | INR Six Thousand Five Hundred & Forty Five and Paise Twenty Only
1.16 | Providing lifting, hoisting and laying reinforced cement concrete of grade M20 to base of columns and footing, columns, beams, plinth band,lintels, chajja, shaft, fins, roof slabs, balconies, stair cases, parapets, window sills,lofts, railing, jally, copping or in places as shown in the drawing for all floors with 12mm size black hard crusher broken chips of approved quality from approved quarry including mixing and vibro compacting to proper shape and size, level and plumbs and finishing the exposed surfaces smooth (if required, by grouting/plaster with cement mortar (1:4) wherever necessary without any extra cost) scaffolding, including, watering and curing the required period, including cost of all materials, labour, conveyance, loading and unloading, royalties, sundries, tools and plants, etc., complete as per direction of the Engineer-in-charge, but excluding cost of materials and labour for reinforcement and shuttering. | BI01010001010000000000000515BI0100001129 | 1.5 | CUM | 3960.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5940.9 | 5940.9 | INR Five Thousand Nine Hundred & Forty and Paise Ninety Only
1.17 | Supplying TMT steel reinforcement bars of grade FE 500of required diameters of approved quality including straightening, cutting to size, bending, and binding the reinforcement,lifting and placing in position as per design complete including cost of bars , binding wires 18 gauge, including cost of all materials, labour, conveyance, loading and unloading, taxes, royalties, sundries, tools and plants, etc. complete as per the direction of the Engineer-in-charge. (linear measurement will be taken and quantity will be calculated on standard weight for all heights) | BI01010001010000000000000515BI0100001130 | 1.2 | QTL | 6414.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7697.68 | 7697.68 | INR Seven Thousand Six Hundred & Ninety Seven and Paise Sixty Eight Only
1.18 | Construction of granular sub-base providing close coarse grade granular sub-base material as per table -100-1, spreading in uniform layers with grader not exceeding 225mm thick on prepared surface, mixing by mix in place method with rotavator at OMC, and compacting with vibratory roller to achieve the desired density complete as per clause 401 of MOSRT&H pecifications for Road & Bridges work (Latest Revision) including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001131 | 204 | CUM | 594.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 121216.8 | 121216.8 | INR One Lakh Twenty One Thousand Two Hundred & Sixteen and Paise Eighty Only
1.19 | Cast in situ Kerb: Providing and castind in situ RCC M20 barrier type Kerb without gutter embedded 125 mm below ground level over M10 PCC finished neatly with CM. 1:3, setting the same in CM 1:3, including the required excavationin any strata and removing the excavated stuff and redoing the surface as specified and directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001132 | 545 | RM | 385.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 210211.95 | 210211.95 | INR Two Lakh Ten Thousand Two Hundred & Eleven and Paise Ninety Five Only
1.2 | Providing and fixing 25 mm thk Unpolished Kota stone tiles for tile edging between plantation as per details and as directed by Engineer-in- Charge. | BI01010001010000000000000515BI0100001133
1.21 | For tile edging between plantation | BI01010001010000000000000515BI0100001134 | 62 | SQM | 881.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 54637.5 | 54637.5 | INR Fifty Four Thousand Six Hundred & Thirty Seven and Paise Fifty Only
1.22 | For trades | BI01010001010000000000000515BI0100001135 | 3 | SQM | 835.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2505.99 | 2505.99 | INR Two Thousand Five Hundred & Five and Paise Ninety Nine Only
1.23 | Supplying, fitting and fixing of approved quality of fabricated iron doors & windows with angle iron door frame of size (40x40x5)mm, MS flat of size (25x5)mm and 1mm thick M.S. sheet including priming etc complete as per the specification and direction of the engineer in charge. | BI01010001010000000000000515BI0100001136 | 79 | KG | 68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5372 | 5372 | INR Five Thousand Three Hundred & Seventy Two Only
1.24 | Providing 2.5cm. A.S.flooring with cement concrete (1:2:4) including punning using 12mm size HGCB chips. | BI01010001010000000000000515BI0100001137 | 6 | SQM | 216.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1297.38 | 1297.38 | INR One Thousand Two Hundred & Ninety Seven and Paise Thirty Eight Only
1.25 | Finishing walls with water proof cement paint Two coat on new work | BI01010001010000000000000515BI0100001138 | 63.52 | SQM | 24.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1535.91 | 1535.91 | INR One Thousand Five Hundred & Thirty Five and Paise Ninety One Only
1.26 | Supply, fixing and installation of FRP curve sitting with handrail and backrest as per the approved drawing including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001139 | 7 | Nos | 13100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 91700 | 91700 | INR Ninety One Thousand Seven Hundred Only
1.27 | Supply, fixing and installation of FRP Straight sitting with handrail and backrest as per the approved drawing including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001140 | 4 | Nos | 18300 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 73200 | 73200 | INR Seventy Three Thousand Two Hundred Only
1.28 | Providing and laying factory made Cement Concrete paver blocks of 60 mm thick and M-30 grade of concrete of required strength, thickness & size/shape, made by table vibratory method , to attain superior smooth finish using PU or equivalent moulds, laid in required Grey colour & pattern over 50mm thick compacted bed of coarse sand, compacting and proper embedding / laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with jamuna sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand in footpath, parks, lawns, drive ways or light traffic parking etc.,including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge & manufacturer’s specifications | BI01010001010000000000000515BI0100001141
1.29 | Paver Block 60mm | BI01010001010000000000000515BI0100001142 | 380 | SQM | 572.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 217424.6 | 217424.6 | INR Two Lakh Seventeen Thousand Four Hundred & Twenty Four and Paise Sixty Only
1.3 | Supplying and fitting fixing of the 12mm TECTTILE of size 300x300 mm for physical handicapped person to indicate the correct path to follow and to give a warning signal as per specification and guideline provided by chief commissioner for person with disability laying in floors and treated on step, landing etc., on C.M bed of tiles with cement slurry mixed with pigmetal to match the shed etc complete including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001143 | 205 | SQM | 1097 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 224885 | 224885 | INR Two Lakh Twenty Four Thousand Eight Hundred & Eighty Five Only
1.31 | Outdoor Gym Area Flooring: Supply, fixing and installation of Rubber tile flooring as per the approved drawing including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001144 | 222 | SQM | 1679.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 372853.44 | 372853.44 | INR Three Lakh Seventy Two Thousand Eight Hundred & Fifty Three and Paise Forty Four Only
1.32 | Badminton Court Flooring: Supply, fixing and installation of 8 Layer Acrylic Cushion System flooring for Badminton court as per the approved drawing including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001145 | 65 | SQM | 2486.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 161638.1 | 161638.1 | INR One Lakh Sixty One Thousand Six Hundred & Thirty Eight and Paise Ten Only
1.33 | Grasspavers: (Precast paver block with 50% grass area) (Size: 450mmX450mmX60mm) Providing and fixing at ground levels, pre cast cement concrete grass pavers as per drawing with M30 grade concrete (Min cement content 380 kg/cum) and setting in position over 50 mm thick sand layer etc complete as directed by Engineer. | BI01010001010000000000000515BI0100001146 | 140 | SQM | 2083.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 291639.6 | 291639.6 | INR Two Lakh Ninety One Thousand Six Hundred & Thirty Nine and Paise Sixty Only
1.34 | Providing and fixing in position self standing dust Bin of approved design and make of minimum height of 0.85 meter dia 0.60 meter (capacity min 80 ltrs) designed for accommodating dry as well as wet kind of trash in the garden made out of in pure polyester Fiberglass Reinforced Plastic (UV resistant finishing) of 2mm thk with matt finish including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001147 | 6 | Nos | 2460 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14760 | 14760 | INR Fourteen Thousand Seven Hundred & Sixty Only
1.35 | Play Equipments : Design and supply of Play Equipments, as per the approval and complete satisfaction of engineer in charge | BI01010001010000000000000515BI0100001148
1.36 | Multi station play gym | BI01010001010000000000000515BI0100001149 | 1 | Nos | 185265.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 185265.17 | 185265.17 | INR One Lakh Eighty Five Thousand Two Hundred & Sixty Five and Paise Seventeen Only
1.37 | Slides (Plain slide) | BI01010001010000000000000515BI0100001150 | 2 | Nos | 85328.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 170656.26 | 170656.26 | INR One Lakh Seventy Thousand Six Hundred & Fifty Six and Paise Twenty Six Only
1.38 | See-saw set of 2 | BI01010001010000000000000515BI0100001151 | 2 | Nos | 26203.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 52406.26 | 52406.26 | INR Fifty Two Thousand Four Hundred & Six and Paise Twenty Six Only
1.39 | Merry-go-round | BI01010001010000000000000515BI0100001152 | 1 | Nos | 65171.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 65171.88 | 65171.88 | INR Sixty Five Thousand One Hundred & Seventy One and Paise Eighty Eight Only
1.4 | Outdoor Gym Equipments : Design and supply of Outdoor Gym Equipments, as per the approval and complete satisfaction of engineer in charge | BI01010001010000000000000515BI0100001153
1.41 | Forearm Twirl | BI01010001010000000000000515BI0100001154 | 1 | Nos | 26700 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26700 | 26700 | INR Twenty Six Thousand Seven Hundred Only
1.42 | Hip Twister | BI01010001010000000000000515BI0100001155 | 1 | Nos | 21400 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21400 | 21400 | INR Twenty One Thousand Four Hundred Only
1.43 | Chest Press | BI01010001010000000000000515BI0100001156 | 1 | Nos | 86600 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 86600 | 86600 | INR Eighty Six Thousand Six Hundred Only
1.44 | Aero Rider | BI01010001010000000000000515BI0100001157 | 1 | Nos | 49800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 49800 | 49800 | INR Forty Nine Thousand Eight Hundred Only
1.45 | Aerial Stroller (Air Walker) | BI01010001010000000000000515BI0100001158 | 1 | Nos | 35600 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35600 | 35600 | INR Thirty Five Thousand Six Hundred Only
1.46 | Shoulder Exerciser | BI01010001010000000000000515BI0100001159 | 1 | Nos | 73800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 73800 | 73800 | INR Seventy Three Thousand Eight Hundred Only
1.47 | E- Toilet for Physically challenged Supply and installation of E- toilets (Size of the unit- 2.3 M x 1.5 M x 2.0 M) The rates are including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in- Charge. | BI01010001010000000000000515BI0100001160 | 1 | Nos | 200000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 200000 | 200000 | INR Two Lakh Only
1.48 | Supply and installation of FRP Gazebo as per drawings and details and as directed by Engineer-in- Charge. | BI01010001010000000000000515BI0100001161 | 1 | Nos | 312220 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 312220 | 312220 | INR Three Lakh Twelve Thousand Two Hundred & Twenty Only
1.49 | Supply and installation Cycle Parking stainless steel sections using 50mm dia and 2mm thick pipe as per drawings and details and as directed by Engineer-in- Charge. | BI01010001010000000000000515BI0100001162 | 67.32 | KGS | 324.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21827.16 | 21827.16 | INR Twenty One Thousand Eight Hundred & Twenty Seven and Paise Sixteen Only
1.5 | Supply of good quality garden soil preferably red alluvial/sandy loam with texture neither too coarse nor too fine with a fair degree of water retaining capacity including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in- Charge. | BI01010001010000000000000515BI0100001163 | 275.6 | CUM | 150 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41340 | 41340 | INR Forty One Thousand Three Hundred & Forty Only
1.51 | Supplying of approved good quality cow dung manure well decomposed garbage free including loading, unloading and delivery at site with all leads and lifts including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001164 | 103.35 | CUM | 694 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 71724.9 | 71724.9 | INR Seventy One Thousand Seven Hundred & Twenty Four and Paise Ninety Only
1.52 | Lifting & Spreading of soil uniformly over the surface area as per landscape design/advice of the site engineer including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001165 | 378.95 | CUM | 52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19705.4 | 19705.4 | INR Nineteen Thousand Seven Hundred & Five and Paise Forty Only
1.53 | Supply of Korian grass well grown disease free, carpet formed, 2” thickness. In 1:5 i.e 600 sqm. including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001166 | 280 | SQM | 150 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 42000 | 42000 | INR Forty Two Thousand Only
1.54 | Supply of doob grass well grown disease free, carpet formed, 2” thickness. In 1:5 i.e 600 sqm. including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001167 | 325 | SQM | 310.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 101029.5 | 101029.5 | INR One Lakh One Thousand &Twenty Nine and Paise Fifty Only
1.55 | Dibbling of broad leaf grass including watering, rolling including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001168 | 605 | SQM | 5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3025 | 3025 | INR Three Thousand &Twenty Five Only
1.56 | Trees & Palms: Supply and stacking well developed tree sapllings of approved mix of species including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001169 | 25 | Nos | 1500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37500 | 37500 | INR Thirty Seven Thousand Five Hundred Only
1.57 | Roystonea regia | BI01010001010000000000000515BI0100001170 | 3 | Nos | 1500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4500 | 4500 | INR Four Thousand Five Hundred Only
1.58 | Plumeria alba | BI01010001010000000000000515BI0100001171
1.59 | Shrubs & Hedges: Supply and stacking well developed tree sapllings below 0.6 hight well branched in polybag 30x20cm of approved mix of species including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respectas directed by Engineer-in-Charge. Bougainvillea glabra | BI01010001010000000000000515BI0100001172 | 1045 | Nos | 70 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 73150 | 73150 | INR Seventy Three Thousand One Hundred & Fifty Only
1.6 | Groundcovers and Shrubbery: Supply and stacking of groundcover and shrubbery elow 0.3 hight well branched in polybag 30x20cm of approved mix of species including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | BI01010001010000000000000515BI0100001173 | [5 empty] | Excess(+) | 1 | Full Conversion | INR
1.61 | Verbena officinalis / portulaca grandiflora | BI01010001010000000000000515BI0100001174 | 1800 | Nos | 36.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 65214 | 65214 | INR Sixty Five Thousand Two Hundred & Fourteen Only
1.62 | Decorative garden light pole suitable for post top lantern with bracket, Junction Box with hinges and locking arrangement ,MS clamp made of 50x6 mm flat, complete in all respect including 2 nos. HDPE pipe 50mm dia having 1 mtr. length each and chuck nut for cable connection etc. | BI01010001010000000000000515BI0100001175
1.63 | 3 m Pole suitable for post top light fixtures (Pole decorative KLITE-KP-4291 or equivalent) | BI01010001010000000000000515BI0100001176 | 25 | Nos | 11343.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 283596.5 | 283596.5 | INR Two Lakh Eighty Three Thousand Five Hundred & Ninety Six and Paise Fifty Only
1.64 | Supply & Erection of Light Fixures complete with all accessories including Junction boxes, earthing, cabling, termination, pipes etc..POST TOP-40W LED Street light luminaries. Bajaj Fixture Model no BGCT W4 LED WW or equivalent | BI01010001010000000000000515BI0100001177 | 25 | Nos | 13529 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 338225 | 338225 | INR Three Lakh Thirty Eight Thousand Two Hundred & Twenty Five Only
1.65 | Step lights - 12W LED. K-lite Fixture Model No 2735 or equivalent | BI01010001010000000000000515BI0100001178 | 12 | Nos | 4324.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 51888.84 | 51888.84 | INR Fifty One Thousand Eight Hundred & Eighty Eight and Paise Eighty Four Only
1.66 | Guard room and Handicapped Toilet.Point wiring for 5A /6Amp socket outlet with 2 X 1.5sq.mm FR PVC insulated single core multistrand copper conductor of ISI marked in recess 20mm dia non-metallic PVC flexible conduit with piano type switch, Phenolic laminated sheet suitable size ISI marked MS box and earthing point with 1 X 1.5sq.mm FR PVC insulated single core multistrand copper conductor for loop earthing etc. as required (Make of wire -Finolex/ L&T/ Anchor/ Havells/V-Guard/HPL) | BI01010001010000000000000515BI0100001179 | 1 | Nos | 416 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 416 | 416 | INR Four Hundred & Sixteen Only
1.67 | Recessed wiring to light point/Fan point/ Exhaust fan point/Call bell point with 1.5 sq.mm FR PVC insulated single core multistrand copper conductor of ISI marked with 20 mm dia non-metallic PVC flexible conduit with 5Amp, 250V piano type switch ISI marked and ceiling rose ISI marked mounted on MS box having front bakelite cover of suitable size, MS box with 1.5 sq.mm FR PVC insulated single core multistrand copper conductor as earth wire including all accessories and connection as per direction of Engineer in Charge(Make of wire-Finolex/L&T/Anchor/Havells/V-Guard/HPL) -Group-A | BI01010001010000000000000515BI0100001180 | 3 | Nos | 407 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1221 | 1221 | INR One Thousand Two Hundred & Twenty One Only
1.68 | Mounting rail type fixture suitable for LED tube, 18W complete in all respects as required. | BI01010001010000000000000515BI0100001181 | 2 | Nos | 539 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1078 | 1078 | INR One Thousand &Seventy Eight Only
1.69 | S/F of wall fan of model Usha striker high speed/Bajaj Midea BW 2200 | BI01010001010000000000000515BI0100001182 | 1 | Nos | 2692 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2692 | 2692 | INR Two Thousand Six Hundred & Ninety Two Only
1.7 | Street Lighting Cable, terminations,lugs etc.complete in all respects.Supply of 1.1kV LT Aluminium/ copper, XLPE/PVC armoured Cables-4C x 16 Sqmm, AL, Armd | BI01010001010000000000000515BI0100001183 | 50 | Mtr | 134.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6711 | 6711 | INR Six Thousand Seven Hundred & Eleven Only
1.71 | Street Lighting Cable, terminations,lugs etc.complete in all respects.Supply of 1.1kV LT Aluminium/ copper, XLPE/PVC armoured Cables-3C x 6 Sqmm, AL, Armd | BI01010001010000000000000515BI0100001184 | 210 | Mtr | 83.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17545.5 | 17545.5 | INR Seventeen Thousand Five Hundred & Forty Five and Paise Fifty Only
1.72 | Street Lighting Cable, terminations,lugs etc.complete in all respects.Supply of 1.1kV LT Aluminium/ copper, XLPE/PVC armoured Cables-3C x 1.5 Sqmm Cu UNARMD wire from Junction box to post top light | BI01010001010000000000000515BI0100001185 | 75 | Mtr | 38.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2904 | 2904 | INR Two Thousand Nine Hundred & Four Only
1.73 | Street Lighting Cable, terminations,lugs etc.complete in all respects.Supply of 1.1kV LT Aluminium/ copper, XLPE/PVC armoured Cables3C x 2.5 Sqmm ARMD copper cable from Junction box/ Feeder pillar to step light. | BI01010001010000000000000515BI0100001186 | 35 | Mtr | 71.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2514.05 | 2514.05 | INR Two Thousand Five Hundred & Fourteen and Paise Five Only
1.74 | Supply and making end termination with brass compression gland and aluminium logs for following size of PVC/XLPE insulated and PVC sheathed / XLPE aluminium cable of 1.1kv grade (without cost of cable ) as required.-4 X 16sqmm | BI01010001010000000000000515BI0100001187 | 2 | Nos | 171 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 342 | 342 | INR Three Hundred & Forty Two Only
1.75 | Supply and making end termination with brass compression gland and aluminium logs for following size of PVC/XLPE insulated and PVC sheathed / XLPE aluminium cable of 1.1kv grade (without cost of cable ) as required.-3 X 6sqmm | BI01010001010000000000000515BI0100001188 | 52 | Nos | 146 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7592 | 7592 | INR Seven Thousand Five Hundred & Ninety Two Only
1.76 | Supply and making end termination with brass compression gland and aluminium logs for following size of PVC/XLPE insulated and PVC sheathed / XLPE aluminium cable of 1.1kv grade (without cost of cable ) as required.-3C x 1.5 Sqmm UNARMD copper cable from Junction box to Post top | BI01010001010000000000000515BI0100001189 | 25 | Nos | 71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1775 | 1775 | INR One Thousand Seven Hundred & Seventy Five Only
1.77 | Supply and making end termination with brass compression gland and aluminium logs for following size of PVC/XLPE insulated and PVC sheathed / XLPE aluminium cable of 1.1kv grade (without cost of cable ) as required.-3C x 2.5 Sqmm ARMD copper cable from Junction box/ Feeder pillar to uplighters | BI01010001010000000000000515BI0100001190 | 12 | Nos | 71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 852 | 852 | INR Eight Hundred & Fifty Two Only
1.78 | Laying of one number of PVC insulated and PVC seathed / XLPE power cable of 1.1 KV grade of size not exceeding 25 mmsq direct in ground including excavation, sand cushing, protective covering and refilling the trench etc. as required | BI01010001010000000000000515BI0100001191 | 295 | Mtr | 102 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30090 | 30090 | INR Thirty Thousand &Ninety Only
1.79 | Supply and laying of 50mm dia HDPE pipe for lighting including all accessories, labour and materials as per approved drawings and specification and directions of engineer in charge. | BI01010001010000000000000515BI0100001192 | 30 | Mtr | 204 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6120 | 6120 | INR Six Thousand One Hundred & Twenty Only
1.8 | Earthing with G.I. earth pipe 3 meter long 40 mm dia ISI marked including accessories and providing massonary enclosur with cover plate having locking arrangement and watering pipe etc with charcoal and salt as required | BI01010001010000000000000515BI0100001193 | 2 | Nos | 2359 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4718 | 4718 | INR Four Thousand Seven Hundred & Eighteen Only
1.81 | Supplying and laying 25 mm x 5 mm G.I. earth strip ISI marked at 0.5 meter below ground level as strip earth electode including soldering etc. as required | BI01010001010000000000000515BI0100001194 | 20 | Mtr | 75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1500 | 1500 | INR One Thousand Five Hundred Only
1.82 | COIL EARTHING FOR POST TOP LIGHT POLE-Providing and fixing earthing arrangement with 6 SWG GI wire ,115 turns of 50mm dia, connection with bracket/cross arm pole through 20mm dia. GI protection pipe of suitable length from to connection point of pole above ground level earthing packing of char coal powder salt etc complete in all respects. | BI01010001010000000000000515BI0100001195 | 5 | Nos | 658 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3290 | 3290 | INR Three Thousand Two Hundred & Ninety Only
2 | Feeder PillarFeeder Pillar-Supply installation testing & commissioning of street lighting feeder pillar with following configuration. Incoming1 No. 32 Amps, FP MCB + RCCB (100mA), 415 volts, 3 phase, 50 Hz .1 No. 40 Amps, FP contactor with auxiliary contacts, overload protection, under voltage coil. The contactor to be controlled by astronomical Timer through an Auto/Manual selector switch.MFM meter, With RS 485 , Class 1.0 with 3 Nos. CT 32/5A, CL-1.0.1 set of Phase indicating LED lights Outgoing-5 Nos 16 Amps, SP MCB, Bus bar,1 set 32 Amps, 415 volts, 3 phase 4 wire colour coded copper bus bars | BI01010001010000000000000515BI0100001196 | 1 | Lumpsum | 24429.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24429.01 | 24429.01 | INR Twenty Four Thousand Four Hundred & Twenty Nine and Paise One Only
Total in Figures | [51 empty] | 4971210.15 | 4971210.15 | INR Forty Nine Lakh Seventy One Thousand Two Hundred & Ten and Paise Fifteen Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information