## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Rourkela Smart City Limited
Name of Work:Design, Development, Construction Rotary Park & Udit Nagar Park consisting of Civil works, Architectural works, design of benches, dust bins and Electrical works including decorative lights at Rourkela
Contract No: RSCL-67/17-18/213(1)/Dt.04.06.2018
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Design, Development, Construction of Rotary Park and Udit Nagar Park consisting of Civil works, Architectural works, design of benches, dust bins and Electrical works including decorative lights at Rourkela | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Design, Development, Construction of Rotary Park consisting of Civil works, Architectural works, design of benches, dust bins and Electrical works including decorative lights at Rourkela as per WorkSheet-Rotary | BI01010001010000000000000515BI0100001113 | 1 | INR | 12926925.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.02 | Design, Development, Construction of Udit Nagar Park consisting of Civil works, Architectural works, design of benches, dust bins and Electrical works including decorative lights at Rourkela as per WorkSheet Udit Nagar | BI01010001010000000000000515BI0100001280 | 1 | INR | 12945007.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information

## Rotary (hidden)
SL No | Item Description | Quantity | Units | Estimated Rate | Currency | Total Amount Without Taxes | Total Amt with Taxes | Total Amount in Words
1 | Design, Development, Construction of Rotary Park consisting of Civil works, Architectural works, design of benches, dust bins and Electrical works including decorative lights at Rourkela
1.01 | Dismantling of existing structures like walls, masonry, cementconcrete, Pavement whatever necessary, storing and disposal of dismantling unsuitable material with all leads and lifts upto 5km and stacking the usable materials including cost of all materials, labour, labourcess, royalties, conveyance, applicable taxes and T&P etc. complete in all respect as directed by Engineer-in-Charge.
1.02 | Plastering | 20 | SQM | 28.02 | INR | 560.4 | 560.4 | INR Five Hundred & Sixty and Paise Forty Only
1.03 | Brickwork | 10 | CuM | 782.5 | INR | 7825 | 7825 | INR Seven Thousand Eight Hundred & Twenty Five Only
1.04 | Cement Concrete | 232 | Cum | 416.85 | INR | 96709.2 | 96709.2 | INR Ninety Six Thousand Seven Hundred & Nine and Paise Twenty Only
1.05 | Earthwork Excavation in hard soil or gravelly soil within 50 mtrs initial lead and 1.5 mtr initial lift including rough dressing and breaking clods to maximum 5 cum to 7 cm and laying in layer not exceeding 3 mtrs in depth including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 1739.63 | CUM | 174.7 | INR | 303913.36 | 303913.36 | INR Three Lakh Three Thousand Nine Hundred & Thirteen and Paise Thirty Six Only
1.06 | Supplying and filling in foundation trenches with available excavated earth well watered and rammed by layers not exceeding 20 cm in depth with all lead and lift including cost of all materials, labour, labour cess etc complete in all respect as directed by Engineer In Charge | 423.98 | CUM | 80.78 | INR | 34249.1 | 34249.1 | INR Thirty Four Thousand Two Hundred & Forty Nine and Paise Ten Only
1.07 | Supplying and filling in foundation trenches and plinth with sand well watered and rammed in layers not exceeding 23cm in depth with all lead and lift including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in- Charge. | 162 | Cum | 271.85 | INR | 44039.7 | 44039.7 | INR Forty Four Thousand &Thirty Nine and Paise Seventy Only
1.08 | Providing and laying plain cement concrete (1:3:6) in foundation and bottom layers of flooring using 20mm thick black hard crusher broken granite metal of approved quality from approved quarry including mixing, lowering, laying and and compacting to proper thickness, watering and curing for the required period, including cost of all material, labour, conveyance, loading and unloading, taxes, royalties, scaffolding, watering, curing, sundries, tools plants, etc., complete as per the direction of the Engineer-in-charge. | 104 | CUM | 4104.39 | INR | 426856.56 | 426856.56 | INR Four Lakh Twenty Six Thousand Eight Hundred & Fifty Six and Paise Fifty Six Only
1.09 | Providing and laying plain cement concrete (1:2:4) with 2cm. Size crusher broken hard Granite metal including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 7.6 | Cum | 4684.89 | INR | 35605.16 | 35605.16 | INR Thirty Five Thousand Six Hundred & Five and Paise Sixteen Only
1.1 | Providing strong, rigid, leveled, and plumbed centering and shuttering to required shape and size , for floors with wooden or steel centering materials with all necessary bracing and tiles and supports with leveling centering covered with bituminous paperwith provisions necessary holes and pockets for electrical conduits, pipes, P.H. pipes, for hooks or boxes, switch and board insert plates, clamps and extension bars etc., including dismantling the same after the required interval from the date of casting including cost of all materials, labour, conveyance, loading and unloading, taxes, royalties, scaffolding, watering, curing, sundries, tools and plants, etc., complete as per the direction of the Engineer-in-charge.
1.11 | Foundation | 32.68 | Sqm | 86.01 | INR | 2810.81 | 2810.81 | INR Two Thousand Eight Hundred & Ten and Paise Eighty One Only
1.12 | Column & beams | 65.68 | Sqm | 537.57 | INR | 35307.6 | 35307.6 | INR Thirty Five Thousand Three Hundred & Seven and Paise Sixty Only
1.13 | Vertical wall | 160.1 | Sqm | 460.62 | INR | 73745.26 | 73745.26 | INR Seventy Three Thousand Seven Hundred & Forty Five and Paise Twenty Six Only
1.14 | Roof slab | 67.04 | Sqm | 334.93 | INR | 22453.71 | 22453.71 | INR Twenty Two Thousand Four Hundred & Fifty Three and Paise Seventy One Only
1.15 | Providing lifting, hoisting and laying reinforced cement concrete of grade M20 to base of columns and footing, columns, beams, plinth band,lintels, chajja, shaft, fins, roof slabs, balconies, stair cases, parapets, window sills,lofts, railing, jally, copping or in places as shown in the drawing for all floors with 12mm size black hard crusher broken chips of approved quality from approved quarry including mixing and vibro compacting to proper shape and size, level and plumbs and finishing the exposed surfaces smooth (if required, by grouting/plaster with cement mortar (1:4) wherever necessary without any extra cost) scaffolding, including, watering and curing the required period, including cost of all materials, labour, conveyance, loading and unloading, royalties, sundries, tools and plants, etc., complete as per direction of the Engineer-in-charge, but excluding cost of materials and labour for reinforcement and shuttering. | 69.5 | Cum | 3979.27 | INR | 276559.27 | 276559.27 | INR Two Lakh Seventy Six Thousand Five Hundred & Fifty Nine and Paise Twenty Seven Only
1.16 | Supplying TMT steel reinforcement bars of grade FE 500of required diameters of approved quality including straightening, cutting to size, bending, and binding the reinforcement,lifting and placing in position as per design complete including cost of bars , binding wires 18 gauge, including cost of all materials, labour, conveyance, loading and unloading, taxes, royalties, sundries, tools and plants, etc. complete as per the direction of the Engineer-in-charge. (linear measurement will be taken and quantity will be calculated on standard weight for all heights) | 45.22 | QTL | 6429.08 | INR | 290723 | 290723 | INR Two Lakh Ninety Thousand Seven Hundred & Twenty Three Only
1.17 | Brick work with Fly ash bricks 23cm x 11cm x 8cm size with dimensional tolerance ± 8 percent in cement mortar (1:6) in foundation and plinth with all lead and lift including cost, conveyance, royalties, taxes of the material, cost of all labour, T&P etc., required for the work complete in all respect as directed by the Engineer-in-Charge. | 25.32 | CUM | 3458.77 | INR | 87576.06 | 87576.06 | INR Eighty Seven Thousand Five Hundred & Seventy Six and Paise Six Only
1.18 | Brick work with Fly ash bricks 23cm x 11cm x 8cm size with dimensional tolerance ± 8 percent in cement mortar (1:6) in super structure with all lead and lift including cost, conveyance, royalties, taxes of the material, cost of all labour, T&P etc., required for the work complete in all respect as directed by the Engineer-in-Charge. | 50.1 | CUM | 3492.1 | INR | 174954.21 | 174954.21 | INR One Lakh Seventy Four Thousand Nine Hundred & Fifty Four and Paise Twenty One Only
1.19 | Providing and applying 16 mm thick plaster to rough side of wall in cement mortar (1:6) on all types of external surfaces using coarse clean sand including surface preparation, curing both the coats, roughening the first coat for making key for the next coat ,bends, pattas, grooves, drip moulds, etc. and all scaffolding, curing etc., including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 369.5 | SQM | 150.84 | INR | 55735.38 | 55735.38 | INR Fifty Five Thousand Seven Hundred & Thirty Five and Paise Thirty Eight Only
1.2 | Providing and applying 12 mm thickplaster to plumb finised side in cement mortar (1:6) on all types of external surfaces using coarse clean sand including surface preparation, curing both the coats, roughening the first coat for making key for the next coat ,bends, pattas, grooves, drip moulds, etc. and all scaffolding, curing etc., including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 364.42 | SQM | 97.3 | INR | 35458.07 | 35458.07 | INR Thirty Five Thousand Four Hundred & Fifty Eight and Paise Seven Only
1.21 | Priming one coat with any approved primer , including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 1125 | SQM | 41.78 | INR | 47002.5 | 47002.5 | INR Forty Seven Thousand &Two and Paise Fifty Only
1.22 | Weather coat Painting two coats any approved paint on the outer side wall including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 1224.5 | SQM | 53.59 | INR | 65620.96 | 65620.96 | INR Sixty Five Thousand Six Hundred & Twenty and Paise Ninety Six Only
1.23 | Supply, fabrication, fixing of MS gate made of MS angle, flats, MS sheets complete as per drawings and direction of Engineer | 6.84 | QTL | 8256.22 | INR | 56472.54 | 56472.54 | INR Fifty Six Thousand Four Hundred & Seventy Two and Paise Fifty Four Only
1.24 | Enamel Painting 2 coat with 1 coat primer with any approved paint on Ms grill painting including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 165.15 | SQM | 91.3 | INR | 15078.2 | 15078.2 | INR Fifteen Thousand &Seventy Eight and Paise Twenty Only
1.25 | Construction of granular sub-base providing close coarse grade granular sub-base material as per table -100-1, spreading in uniform layers with grader not exceeding 225mm thick on prepared surface, mixing by mix in place method with rotavator at OMC, and compacting with vibratory roller to achieve the desired density complete as per clause 401 of MOSRT&H pecifications for Road & Bridges work (Latest Revision) including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 333 | Cum | 594.7 | INR | 198035.1 | 198035.1 | INR One Lakh Ninety Eight Thousand &Thirty Five and Paise Ten Only
1.26 | Cast in situ Kerb: Providing and castind in situ RCC M20 barrier type Kerb without gutter embedded 125 mm below ground level over M10 PCC finished neatly with CM. 1:3, setting the same in CM 1:3, including the required excavationin any strata and removing the excavated stuff and redoing the surface as specified and directed by Engineer-in-Charge. | 1055 | RMT | 390.32 | INR | 411787.6 | 411787.6 | INR Four Lakh Eleven Thousand Seven Hundred & Eighty Seven and Paise Sixty Only
1.27 | Providing and fixing 25 mm thk Kota stone tiles for tile edging between plantation as per details and as directed by Engineer-in- Charge.
1.28 | For Tile Edging between plantation | 135 | SQM | 898.93 | INR | 121355.55 | 121355.55 | INR One Lakh Twenty One Thousand Three Hundred & Fifty Five and Paise Fifty Five Only
1.29 | For Treads / copings | 90.5 | SQM | 847.65 | INR | 76712.33 | 76712.33 | INR Seventy Six Thousand Seven Hundred & Twelve and Paise Thirty Three Only
1.3 | Supply, fixing and installation of FRP Straight sitting with handrail and backrest as per the approved drawing including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 15 | Nos | 17751 | INR | 266265 | 266265 | INR Two Lakh Sixty Six Thousand Two Hundred & Sixty Five Only
1.31 | Supply, fixing and installation of FRP curve sitting with handrail and backrest as per the approved drawing including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 4 | Nos | 12707 | INR | 50828 | 50828 | INR Fifty Thousand Eight Hundred & Twenty Eight Only
1.32 | Providing and laying factory made Cement Concrete paver blocks of 60 mm thick and M-30 grade of concrete of required strength, thickness & size/shape, made by table vibratory method , to attain superior smooth finish using PU or equivalent moulds, laid in required Grey colour & pattern over 50mm thick compacted bed of coarse sand, compacting and proper embedding / laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with jamuna sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand in footpath, parks, lawns, drive ways or light traffic parking etc.,including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge & manufacturer’s specifications
1.33 | Paver Block 60 MM | 855 | Sqm | 575.3 | INR | 491881.5 | 491881.5 | INR Four Lakh Ninety One Thousand Eight Hundred & Eighty One and Paise Fifty Only
1.34 | Supplying and fitting fixing of the 12mm TEETTILE of size 300x300 mm for physical handicapped person to indicate the correct path to follow and to give a warning signal as per specification and guideline provided by chief commissioner for person with disability laying in floors and treated on step, landing etc., on C.M bed of tiles with cement slurry mixed with pigmetal to match the shed etc complete including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 680 | Sqm | 1097 | INR | 745960 | 745960 | INR Seven Lakh Forty Five Thousand Nine Hundred & Sixty Only
1.35 | Outdoor Gym Area Flooring: Supply, fixing and installation of Rubber tile flooring as per the approved drawing including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 156 | SQM | 1705.51 | INR | 266059.56 | 266059.56 | INR Two Lakh Sixty Six Thousand &Fifty Nine and Paise Fifty Six Only
1.36 | Grasspavers: (Precast paver block with 50% grass area) (Size: 450mmX450mmX60mm) Providing and fixing at ground levels, pre cast cement concrete grass pavers as per drawing with M30 grade concrete (Min cement content 380 kg/cum) and setting in position over 50 mm thick sand layer etc complete as directed by Engineer. | 115 | SQM | 2031.49 | INR | 233621.35 | 233621.35 | INR Two Lakh Thirty Three Thousand Six Hundred & Twenty One and Paise Thirty Five Only
1.37 | Providing and fixing in position self standing dust Bin of approved design and make of minimum height of 0.85 meter dia 0.60 meter (capacity min 80 ltrs) designed for accommodating dry as well as wet kind of trash in the garden made out of in pure polyester Fiberglass Reinforced Plastic (UV resistant finishing) of 2mm thk with matt finish including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 12 | Nos | 2460 | INR | 29520 | 29520 | INR Twenty Nine Thousand Five Hundred & Twenty Only
1.38 | Play Equipments : Design and supply of Play Equipments, as per the approval and complete satisfaction of engineer in charge
1.39 | Multi station play gym | 1 | Nos | 185265.17 | INR | 185265.17 | 185265.17 | INR One Lakh Eighty Five Thousand Two Hundred & Sixty Five and Paise Seventeen Only
1.4 | Slides (Plain slide) | 2 | Nos | 77136.63 | INR | 154273.26 | 154273.26 | INR One Lakh Fifty Four Thousand Two Hundred & Seventy Three and Paise Twenty Six Only
1.41 | See-saw set of 2 | 2 | Nos | 23687.63 | INR | 47375.26 | 47375.26 | INR Forty Seven Thousand Three Hundred & Seventy Five and Paise Twenty Six Only
1.42 | Merry-go-round | 1 | Nos | 58915.38 | INR | 58915.38 | 58915.38 | INR Fifty Eight Thousand Nine Hundred & Fifteen and Paise Thirty Eight Only
1.43 | Outdoor Gym Equipments : Design and supply of Outdoor Gym Equipments, as per the approval and complete satisfaction of engineer in charge
1.44 | Forearm Twirl | 1 | Nos | 27501 | INR | 27501 | 27501 | INR Twenty Seven Thousand Five Hundred & One Only
1.45 | Hip Twister | 1 | Nos | 22042 | INR | 22042 | 22042 | INR Twenty Two Thousand &Forty Two Only
1.46 | Chest Press | 1 | Nos | 89198 | INR | 89198 | 89198 | INR Eighty Nine Thousand One Hundred & Ninety Eight Only
1.47 | Aero Rider | 1 | Nos | 51294 | INR | 51294 | 51294 | INR Fifty One Thousand Two Hundred & Ninety Four Only
1.48 | Aerial Stroller (Air Walker) | 1 | Nos | 36668 | INR | 36668 | 36668 | INR Thirty Six Thousand Six Hundred & Sixty Eight Only
1.49 | Shoulder Exerciser | 1 | Nos | 76014 | INR | 76014 | 76014 | INR Seventy Six Thousand &Fourteen Only
1.5 | Providing all labour, tools &plants for removing existing GYM and sports units and re installation of the Equipments as per direcction of Engineer in charge | 6 | Nos | 1609.61 | INR | 9657.66 | 9657.66 | INR Nine Thousand Six Hundred & Fifty Seven and Paise Sixty Six Only
1.51 | E- Toilet for Physically challenged Supply and installation of E- toilets (Size of the unit- 2.3 M x 1.5 M x 2.0 M) The rates are including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in- Charge. | 1 | Nos | 184766 | INR | 184766 | 184766 | INR One Lakh Eighty Four Thousand Seven Hundred & Sixty Six Only
1.52 | Supply and installation Cycle Parking stainless steel sections using 50mm dia and 2mm thick pipe as per drawings and details and as directed by Engineer-in- Charge. | 53.46 | KGS | 325.84 | INR | 17419.41 | 17419.41 | INR Seventeen Thousand Four Hundred & Nineteen and Paise Forty One Only
1.53 | Supply of good quality garden soil preferably red alluvial/sandy loam with texture neither too coarse nor too fine with a fair degree of water retaining capacity including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in- Charge. | 1195.74 | CUM | 150 | INR | 179361 | 179361 | INR One Lakh Seventy Nine Thousand Three Hundred & Sixty One Only
1.54 | Supplying of approved good quality cow dung manure well decomposed garbage free including loading, unloading and delivery at site with all leads and lifts including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 414 | CUM | 694 | INR | 287316 | 287316 | INR Two Lakh Eighty Seven Thousand Three Hundred & Sixteen Only
1.55 | Lifting & Spreading of soil uniformly over the surface area as per landscape design/advice of the site engineer including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 1609.74 | CUM | 52 | INR | 83706.48 | 83706.48 | INR Eighty Three Thousand Seven Hundred & Six and Paise Forty Eight Only
1.56 | Supply of Korian grass well grown disease free, carpet formed, 2” thickness. In 1:5 i.e 600 sqm. including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 1850 | SQM | 150 | INR | 277500 | 277500 | INR Two Lakh Seventy Seven Thousand Five Hundred Only
1.57 | Supply of doob grass well grown disease free, carpet formed, 2” thickness. In 1:5 i.e 600 sqm. including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 2575 | SQM | 149.21 | INR | 384215.75 | 384215.75 | INR Three Lakh Eighty Four Thousand Two Hundred & Fifteen and Paise Seventy Five Only
1.58 | Dibbling of broad leaf grass including watering, rolling including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 4425 | SQM | 5 | INR | 22125 | 22125 | INR Twenty Two Thousand One Hundred & Twenty Five Only
1.59 | Trees & Palms: Supply and stacking well developed tree sapllings of approved mix of species including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge.
1.6 | Roystonea regia | 42 | Nos | 240 | INR | 10080 | 10080 | INR Ten Thousand &Eighty Only
1.61 | Plumeria alba | 16 | Nos | 240 | INR | 3840 | 3840 | INR Three Thousand Eight Hundred & Forty Only
1.62 | Terminalia Arjuna | 50 | Nos | 60 | INR | 3000 | 3000 | INR Three Thousand Only
1.63 | Mesua ferrea | 33 | Nos | 598.8 | INR | 19760.4 | 19760.4 | INR Nineteen Thousand Seven Hundred & Sixty and Paise Forty Only
1.64 | Shrubs & Hedges: Supply and stacking well developed tree sapllings below 0.6 hight well branched in polybag 30x20cm of approved mix of species including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respectas directed by Engineer-in-Charge. Bougainvillea glabra | 240 | Nos | 70 | INR | 16800 | 16800 | INR Sixteen Thousand Eight Hundred Only
1.65 | Shrubs & Hedges: Supply and planting well developed Golden Duranta having height 15 to 20 cm bushy shape plant tree sapllings below 0.6 hight well branched in polybag 20cm of approved mix of species including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respectas directed by Engineer-in-Charge. | 1250 | Nos | 20.5 | INR | 25625 | 25625 | INR Twenty Five Thousand Six Hundred & Twenty Five Only
1.66 | Groundcovers and Shrubbery: Supply and stacking of groundcover and shrubbery elow 0.3 hight well branched in polybag 30x20cm of approved mix of species including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge.
1.67 | Verbena officinalis / portulaca grandiflora | 5210 | Nos | 36.23 | INR | 188758.3 | 188758.3 | INR One Lakh Eighty Eight Thousand Seven Hundred & Fifty Eight and Paise Thirty Only
1.68 | Supplying, fitting and fixing of approved quality of fabricated iron doors & windows with angle iron door frame of size (40x40x5)mm, MS flat of size (25x5)mm and 1mm thick M.S. sheet including priming etc complete as per the specification and direction of the engineer in charge. | 79 | KGS | 68 | INR | 5372 | 5372 | INR Five Thousand Three Hundred & Seventy Two Only
1.69 | Providing 2.5cm. A.S.flooring with cement concrete (1:2:4) including punning using 12mm size HGCB chips. | 6 | SQM | 222.38 | INR | 1334.28 | 1334.28 | INR One Thousand Three Hundred & Thirty Four and Paise Twenty Eight Only
1.7 | Finishing walls with water proof cement paint Two coat on new work | 63.52 | SQM | 24.76 | INR | 1572.76 | 1572.76 | INR One Thousand Five Hundred & Seventy Two and Paise Seventy Six Only
1.71 | Fixing Mangalore tiles on sloping roof on 12mm thick cement plaster (1:3) joined with neat cement slurry mixed with pigments to match the shade of the tiles including rubbing and polishing ceomplete including cost of precast tiles. | 47 | SQM | 530.99 | INR | 24956.53 | 24956.53 | INR Twenty Four Thousand Nine Hundred & Fifty Six and Paise Fifty Three Only
1.72 | Providing laying medium duty GI pipe including fittings. 65mm dia | 550 | RMT | 524.25 | INR | 288337.5 | 288337.5 | INR Two Lakh Eighty Eight Thousand Three Hundred & Thirty Seven and Paise Fifty Only
1.73 | Providing and fixing Bib cock. 15mm dia | 20 | Nos | 260.6 | INR | 5212 | 5212 | INR Five Thousand Two Hundred & Twelve Only
1.74 | Providing and fixing Stop cock 15mm dia | 20 | Nos | 260.6 | INR | 5212 | 5212 | INR Five Thousand Two Hundred & Twelve Only
1.75 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 65mm dia | 3 | Nos | 1287.75 | INR | 3863.25 | 3863.25 | INR Three Thousand Eight Hundred & Sixty Three and Paise Twenty Five Only
1.76 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, ISI : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 2000 | Ltrs | 7.25 | INR | 14500 | 14500 | INR Fourteen Thousand Five Hundred Only
1.77 | Providing and installation 1 HP water pump including all electrical works, mechanical and piping works. | 1 | Set | 11121.65 | INR | 11121.65 | 11121.65 | INR Eleven Thousand One Hundred & Twenty One and Paise Sixty Five Only
1.78 | Design, Development, Construction of Rotary Park-2 consisting of Civil works, Architectural works, design of benches, dust bins and Electrical works including decorative lights at Rourkela
1.79 | Dismantling of existing structures like walls, masonry, cementconcrete, Pavement whatever necessary, storing and disposal of dismantling unsuitable material with all leads and lifts upto 5km and stacking the usable materials including cost of all materials, labour, labourcess, royalties, conveyance, applicable taxes and T&P etc. complete in all respect as directed by Engineer-in-Charge.
1.8 | Plastering | 10 | SQM | 28.02 | INR | 280.2 | 280.2 | INR Two Hundred & Eighty and Paise Twenty Only
1.81 | Brickwork | 10 | Cum | 782.5 | INR | 7825 | 7825 | INR Seven Thousand Eight Hundred & Twenty Five Only
1.82 | Cement Concrete | 143.75 | Cum | 416.85 | INR | 59922.19 | 59922.19 | INR Fifty Nine Thousand Nine Hundred & Twenty Two and Paise Nineteen Only
1.83 | Earthwork Excavation in hard soil or gravelly soil within 50 mtrs initial lead and 1.5 mtr initial lift including rough dressing and breaking clods to maximum 5 cum to 7 cm and laying in layer not exceeding 3 mtrs in depth including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 511 | Cum | 145.42 | INR | 74309.62 | 74309.62 | INR Seventy Four Thousand Three Hundred & Nine and Paise Sixty Two Only
1.84 | Supplying and filling in foundation trenches with available excavated earth well watered and rammed by layers not exceeding 20 cm in depth with all lead and lift including cost of all materials, labour, labour cess etc complete in all respect as directed by Engineer In Charge | 1.8 | Cum | 80.78 | INR | 145.4 | 145.4 | INR One Hundred & Forty Five and Paise Forty Only
1.85 | Supplying and filling in foundation trenches and plinth with sand well watered and rammed in layers not exceeding 23cm in depth with all lead and lift including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in- Charge. | 155 | Cum | 271.85 | INR | 42136.75 | 42136.75 | INR Forty Two Thousand One Hundred & Thirty Six and Paise Seventy Five Only
1.86 | Providing and laying plain cement concrete (1:3:6) in foundation and bottom layers of flooring using 20mm thick black hard crusher broken granite metal of approved quality from approved quarry including mixing, lowering, laying and and compacting to proper thickness, watering and curing for the required period, including cost of all material, labour, conveyance, loading and unloading, taxes, royalties, scaffolding, watering, curing, sundries, tools plants, etc., complete as per the direction of the Engineer-in-charge. | 27.8 | Cum | 4104.39 | INR | 114102.04 | 114102.04 | INR One Lakh Fourteen Thousand One Hundred & Two and Paise Four Only
1.87 | Providing strong, rigid, leveled, and plumbed centering and shuttering to required shape and size , for floors with wooden or steel centering materials with all necessary bracing and tiles and supports with leveling centering covered with bituminous paperwith provisions necessary holes and pockets for electrical conduits, pipes, P.H. pipes, for hooks or boxes, switch and board insert plates, clamps and extension bars etc., including dismantling the same after the required interval from the date of casting including cost of all materials, labour, conveyance, loading and unloading, taxes, royalties, scaffolding, watering, curing, sundries, tools and plants, etc., complete as per the direction of the Engineer-in-charge.
1.88 | Foundation | 2.88 | Sqm | 86.01 | INR | 247.71 | 247.71 | INR Two Hundred & Forty Seven and Paise Seventy One Only
1.89 | Column & beams | 8.32 | Sqm | 537.57 | INR | 4472.58 | 4472.58 | INR Four Thousand Four Hundred & Seventy Two and Paise Fifty Eight Only
1.9 | Providing lifting, hoisting and laying reinforced cement concrete of grade M20 to base of columns and footing, columns, beams, plinth band,lintels, chajja, shaft, fins, roof slabs, balconies, stair cases, parapets, window sills,lofts, railing, jally, copping or in places as shown in the drawing for all floors with 12mm size black hard crusher broken chips of approved quality from approved quarry including mixing and vibro compacting to proper shape and size, level and plumbs and finishing the exposed surfaces smooth (if required, by grouting/plaster with cement mortar (1:4) wherever necessary without any extra cost) scaffolding, including, watering and curing the required period, including cost of all materials, labour, conveyance, loading and unloading, royalties, sundries, tools and plants, etc., complete as per direction of the Engineer-in-charge, but excluding cost of materials and labour for reinforcement and shuttering. | 1.43 | Cum | 3979.27 | INR | 5690.36 | 5690.36 | INR Five Thousand Six Hundred & Ninety and Paise Thirty Six Only
1.91 | Supplying TMT steel reinforcement bars of grade FE 500of required diameters of approved quality including straightening, cutting to size, bending, and binding the reinforcement,lifting and placing in position as per design complete including cost of bars , binding wires 18 gauge, including cost of all materials, labour, conveyance, loading and unloading, taxes, royalties, sundries, tools and plants, etc. complete as per the direction of the Engineer-in-charge. (linear measurement will be taken and quantity will be calculated on standard weight for all heights) | 1.19 | QTL | 6429.08 | INR | 7650.61 | 7650.61 | INR Seven Thousand Six Hundred & Fifty and Paise Sixty One Only
1.92 | Brick work with Fly ash bricks 23cm x 11cm x 8cm size with dimensional tolerance ± 8 percent in cement mortar (1:6) in foundation and plinth with all lead and lift including cost, conveyance, royalties, taxes of the material, cost of all labour, T&P etc., required for the work complete in all respect as directed by the Engineer-in-Charge. | 1 | Cum | 3458.77 | INR | 3458.77 | 3458.77 | INR Three Thousand Four Hundred & Fifty Eight and Paise Seventy Seven Only
1.93 | Brick work with Fly ash bricks 23cm x 11cm x 8cm size with dimensional tolerance ± 8 percent in cement mortar (1:6) in super structure with all lead and lift including cost, conveyance, royalties, taxes of the material, cost of all labour, T&P etc., required for the work complete in all respect as directed by the Engineer-in-Charge. | 1.5 | Cum | 3492.1 | INR | 5238.15 | 5238.15 | INR Five Thousand Two Hundred & Thirty Eight and Paise Fifteen Only
1.94 | Providing and applying 16 mm thick plaster to rough side of wall in cement mortar (1:6) on all types of external surfaces using coarse clean sand including surface preparation, curing both the coats, roughening the first coat for making key for the next coat ,bends, pattas, grooves, drip moulds, etc. and all scaffolding, curing etc., including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 193.1 | Sqm | 150.84 | INR | 29127.2 | 29127.2 | INR Twenty Nine Thousand One Hundred & Twenty Seven and Paise Twenty Only
1.95 | Providing and applying 12 mm thickplaster to plumb finised side in cement mortar (1:6) on all types of external surfaces using coarse clean sand including surface preparation, curing both the coats, roughening the first coat for making key for the next coat ,bends, pattas, grooves, drip moulds, etc. and all scaffolding, curing etc., including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 6.4 | Sqm | 97.3 | INR | 622.72 | 622.72 | INR Six Hundred & Twenty Two and Paise Seventy Two Only
1.96 | Priming one coat with any approved primer , including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 619.5 | Sqm | 41.78 | INR | 25882.71 | 25882.71 | INR Twenty Five Thousand Eight Hundred & Eighty Two and Paise Seventy One Only
1.97 | Weather coat Painting two coats any approved paint on the outer side wall including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 619.5 | SQM | 53.59 | INR | 33199.01 | 33199.01 | INR Thirty Three Thousand One Hundred & Ninety Nine and Paise One Only
1.98 | Supply, fabrication, fixing of MS gate made of MS angle, flats, MS sheets complete as per drawings and direction of Engineer | 6.84 | QTL | 8256.22 | INR | 56472.54 | 56472.54 | INR Fifty Six Thousand Four Hundred & Seventy Two and Paise Fifty Four Only
1.99 | Enamel Painting 2 coat with 1 coat primer with any approved paint on Ms grill painting including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 128.7 | sQM | 91.3 | INR | 11750.31 | 11750.31 | INR Eleven Thousand Seven Hundred & Fifty and Paise Thirty One Only
2 | Construction of granular sub-base providing close coarse grade granular sub-base material as per table -100-1, spreading in uniform layers with grader not exceeding 225mm thick on prepared surface, mixing by mix in place method with rotavator at OMC, and compacting with vibratory roller to achieve the desired density complete as per clause 401 of MOSRT&H pecifications for Road & Bridges work (Latest Revision) including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 144 | Cum | 594.7 | INR | 85636.8 | 85636.8 | INR Eighty Five Thousand Six Hundred & Thirty Six and Paise Eighty Only
2.01 | Cast in situ Kerb: Providing and castind in situ RCC M20 barrier type Kerb without gutter embedded 125 mm below ground level over M10 PCC finished neatly with CM. 1:3, setting the same in CM 1:3, including the required excavationin any strata and removing the excavated stuff and redoing the surface as specified and directed by Engineer-in-Charge. | 555 | RMT | 390.31 | INR | 216622.05 | 216622.05 | INR Two Lakh Sixteen Thousand Six Hundred & Twenty Two and Paise Five Only
2.02 | Providing and fixing 25 mm thk Kota stone tiles for tile edging between plantation as per details and as directed by Engineer-in- Charge.
2.03 | For Tile Edging between plantation | 13.5 | SQM | 898.93 | INR | 12135.56 | 12135.56 | INR Twelve Thousand One Hundred & Thirty Five and Paise Fifty Six Only
2.04 | For Treads / copings | 2.1 | SQM | 847.65 | INR | 1780.07 | 1780.07 | INR One Thousand Seven Hundred & Eighty and Paise Seven Only
2.05 | Supply, fixing and installation of FRP Straight sitting with handrail and backrest as per the approved drawing including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 7 | Nos | 17751 | INR | 124257 | 124257 | INR One Lakh Twenty Four Thousand Two Hundred & Fifty Seven Only
2.06 | Providing and laying factory made Cement Concrete paver blocks of 60 mm thick and M-30 grade of concrete of required strength, thickness & size/shape, made by table vibratory method , to attain superior smooth finish using PU or equivalent moulds, laid in required Grey colour & pattern over 50mm thick compacted bed of coarse sand, compacting and proper embedding / laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with jamuna sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand in footpath, parks, lawns, drive ways or light traffic parking etc.,including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge & manufacturer’s specifications
2.07 | Paver Block 60 MM | 310 | Sqm | 575.3 | INR | 178343 | 178343 | INR One Lakh Seventy Eight Thousand Three Hundred & Forty Three Only
2.08 | Supplying and fitting fixing of the 12mm TEETTILE of size 300x300 mm for physical handicapped person to indicate the correct path to follow and to give a warning signal as per specification and guideline provided by chief commissioner for person with disability laying in floors and treated on step, landing etc., on C.M bed of tiles with cement slurry mixed with pigmetal to match the shed etc complete including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 265 | Sqm | 1097 | INR | 290705 | 290705 | INR Two Lakh Ninety Thousand Seven Hundred & Five Only
2.09 | Providing and fixing in position self standing dust Bin of approved design and make of minimum height of 0.85 meter dia 0.60 meter (capacity min 80 ltrs) designed for accommodating dry as well as wet kind of trash in the garden made out of in pure polyester Fiberglass Reinforced Plastic (UV resistant finishing) of 2mm thk with matt finish including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 5 | Nos | 2460 | INR | 12300 | 12300 | INR Twelve Thousand Three Hundred Only
2.1 | Supply and installation Cycle Parking stainless steel sections using 50mm dia and 2mm thick pipe as per drawings and details and as directed by Engineer-in- Charge. | 53.46 | KG | 325.84 | INR | 17419.41 | 17419.41 | INR Seventeen Thousand Four Hundred & Nineteen and Paise Forty One Only
2.11 | Supply of good quality garden soil preferably red alluvial/sandy loam with texture neither too coarse nor too fine with a fair degree of water retaining capacity including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in- Charge. | 457 | Cum | 150 | INR | 68550 | 68550 | INR Sixty Eight Thousand Five Hundred & Fifty Only
2.12 | Supplying of approved good quality cow dung manure well decomposed garbage free including loading, unloading and delivery at site with all leads and lifts including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 108 | Cum | 694 | INR | 74952 | 74952 | INR Seventy Four Thousand Nine Hundred & Fifty Two Only
2.13 | Lifting & Spreading of soil uniformly over the surface area as per landscape design/advice of the site engineer including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 565 | Cum | 52 | INR | 29380 | 29380 | INR Twenty Nine Thousand Three Hundred & Eighty Only
2.14 | Supply of Korian grass well grown disease free, carpet formed, 2” thickness. In 1:5 i.e 600 sqm. including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 295 | Sqm | 150 | INR | 44250 | 44250 | INR Forty Four Thousand Two Hundred & Fifty Only
2.15 | Supply of doob grass well grown disease free, carpet formed, 2” thickness. In 1:5 i.e 600 sqm. including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 465 | Sqm | 149.21 | INR | 69382.65 | 69382.65 | INR Sixty Nine Thousand Three Hundred & Eighty Two and Paise Sixty Five Only
2.16 | Dibbling of broad leaf grass including watering, rolling including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 760 | Sqm | 5 | INR | 3800 | 3800 | INR Three Thousand Eight Hundred Only
2.17 | Trees & Palms: Supply and stacking well developed tree sapllings of approved mix of species including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge.
2.18 | Mesua ferrea | 30 | Nos | 1500 | INR | 45000 | 45000 | INR Forty Five Thousand Only
2.19 | Shrubs & Hedges: Supply and stacking well developed tree sapllings below 0.6 hight well branched in polybag 30x20cm of approved mix of species including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respectas directed by Engineer-in-Charge. Bougainvillea glabra | 240 | Nos | 70 | INR | 16800 | 16800 | INR Sixteen Thousand Eight Hundred Only
2.2 | Providing laying medium duty GI pipe including fittings. 65mm dia | 250 | RMT | 524.25 | INR | 131062.5 | 131062.5 | INR One Lakh Thirty One Thousand &Sixty Two and Paise Fifty Only
2.21 | Providing and fixing Bib cock. 15mm dia | 20 | Nos | 260.6 | INR | 5212 | 5212 | INR Five Thousand Two Hundred & Twelve Only
2.22 | Providing and fixing Stop cock 15mm dia | 20 | Nos | 260.6 | INR | 5212 | 5212 | INR Five Thousand Two Hundred & Twelve Only
2.23 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 65mm dia | 4 | Nos | 1287.75 | INR | 5151 | 5151 | INR Five Thousand One Hundred & Fifty One Only
2.24 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, ISI : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 1000 | ltrs | 7.25 | INR | 7250 | 7250 | INR Seven Thousand Two Hundred & Fifty Only
2.25 | Providing and installation 1 HP water pump including all electrical works, mechanical and piping works. | 1 | Set | 11121.65 | INR | 11121.65 | 11121.65 | INR Eleven Thousand One Hundred & Twenty One and Paise Sixty Five Only
2.26 | Providing all material, tools & plants and construction of splash pool with water jet including all plumbing electrical & mechanical work | 1 | Set | 1646450 | INR | 1646450 | 1646450 | INR Sixteen Lakh Forty Six Thousand Four Hundred & Fifty Only
2.27 | Supply & Erection of Light Fixures complete with all accessories including Junction boxes, earthing, cabling, termination, pipes etc..POST TOP-40W LED Street light luminaries. Bajaj Fixture Model no BGCT W4 LED WW or equivalent-Rotary Park -I
2.28 | Step lights - 12W LED. K-lite Fixture Model No 2735 or equivalent | 15 | Nos | 4324.08 | INR | 64861.2 | 64861.2 | INR Sixty Four Thousand Eight Hundred & Sixty One and Paise Twenty Only
2.29 | Tree-Uplighter 7W | 46 | Nos | 1302.82 | INR | 59929.72 | 59929.72 | INR Fifty Nine Thousand Nine Hundred & Twenty Nine and Paise Seventy Two Only
2.3 | Guard room and Handicapped Toilet.Point wiring for 5A /6Amp socket outlet with 2 X 1.5sq.mm FR PVC insulated single core multistrand copper conductor of ISI marked in recess 20mm dia non-metallic PVC flexible conduit with piano type switch, Phenolic laminated sheet suitable size ISI marked MS box and earthing point with 1 X 1.5sq.mm FR PVC insulated single core multistrand copper conductor for loop earthing etc. as required (Make of wire -Finolex/ L&T/ Anchor/ Havells/V-Guard/HPL) | 1 | Nos | 416 | INR | 416 | 416 | INR Four Hundred & Sixteen Only
2.31 | Recessed wiring to light point/Fan point/ Exhaust fan point/Call bell point with 1.5 sq.mm FR PVC insulated single core multistrand copper conductor of ISI marked with 20 mm dia non-metallic PVC flexible conduit with 5Amp, 250V piano type switch ISI marked and ceiling rose ISI marked mounted on MS box having front bakelite cover of suitable size, MS box with 1.5 sq.mm FR PVC insulated single core multistrand copper conductor as earth wire including all accessories and connection as per direction of Engineer in Charge(Make of wire-Finolex/L&T/Anchor/Havells/V-Guard/HPL) -Group-A | 3 | Nos | 407 | INR | 1221 | 1221 | INR One Thousand Two Hundred & Twenty One Only
2.32 | Mounting rail type fixture suitable for LED tube, 18W complete in all respects as required. | 2 | Nos | 539 | INR | 1078 | 1078 | INR One Thousand &Seventy Eight Only
2.33 | S/F of wall fan of model Usha striker high speed/Bajaj Midea BW 2200 | 1 | Nos | 2692 | INR | 2692 | 2692 | INR Two Thousand Six Hundred & Ninety Two Only
2.34 | Street Lighting Cable, terminations,lugs etc.complete in all respects.Supply of 1.1kV LT Aluminium/ copper, XLPE/PVC armoured Cables-4C x 16 Sqmm, AL, Armd | 50 | Mtr | 114 | INR | 5700 | 5700 | INR Five Thousand Seven Hundred Only
2.35 | Street Lighting Cable, terminations,lugs etc.complete in all respects.Supply of 1.1kV LT Aluminium/ copper, XLPE/PVC armoured Cables-3C x 6 Sqmm, AL, Armd | 280 | Mtr | 71 | INR | 19880 | 19880 | INR Nineteen Thousand Eight Hundred & Eighty Only
2.36 | Street Lighting Cable, terminations,lugs etc.complete in all respects.Supply of 1.1kV LT Aluminium/ copper, XLPE/PVC armoured Cables-3C x 2.5 Sqmm Cu UNARMD wire from Junction box to post top light | 305 | Mtr | 61 | INR | 18605 | 18605 | INR Eighteen Thousand Six Hundred & Five Only
2.37 | Supply and making end termination with brass compression gland and aluminium logs for following size of PVC/XLPE insulated and PVC sheathed / XLPE aluminium cable of 1.1kv grade (without cost of cable ) as required.-4 X 16sqmm | 2 | Nos | 249 | INR | 498 | 498 | INR Four Hundred & Ninety Eight Only
2.38 | Supply and making end termination with brass compression gland and aluminium logs for following size of PVC/XLPE insulated and PVC sheathed / XLPE aluminium cable of 1.1kv grade (without cost of cable ) as required.-3 X 6sqmm | 34 | Nos | 146 | INR | 4964 | 4964 | INR Four Thousand Nine Hundred & Sixty Four Only
2.39 | Supply and making end termination with brass compression gland and aluminium logs for following size of PVC/XLPE insulated and PVC sheathed / XLPE aluminium cable of 1.1kv grade (without cost of cable ) as required.-3C x 1.5 Sqmm UNARMD copper cable from Junction box to Post top | 15 | Nos | 71 | INR | 1065 | 1065 | INR One Thousand &Sixty Five Only
2.4 | Supply and making end termination with brass compression gland and aluminium logs for following size of PVC/XLPE insulated and PVC sheathed / XLPE aluminium cable of 1.1kv grade (without cost of cable ) as required.-3C x 2.5 Sqmm ARMD copper cable from Junction box/ Feeder pillar to uplighters | 46 | Nos | 71 | INR | 3266 | 3266 | INR Three Thousand Two Hundred & Sixty Six Only
2.41 | Laying of one number of PVC insulated and PVC seathed / XLPE power cable of 1.1 KV grade of size not exceeding 25 mmsq direct in ground including excavation, sand cushing, protective covering and refilling the trench etc. as required | 635 | Mtr | 102 | INR | 64770 | 64770 | INR Sixty Four Thousand Seven Hundred & Seventy Only
2.42 | Supply and laying of 50mm dia HDPE pipe for lighting including all accessories, labour and materials as per approved drawings and specification and directions of engineer in charge. | 30 | Mtr | 204 | INR | 6120 | 6120 | INR Six Thousand One Hundred & Twenty Only
2.43 | Earthing with G.I. earth pipe 3 meter long 40 mm dia ISI marked including accessories and providing massonary enclosur with cover plate having locking arrangement and watering pipe etc with charcoal and salt as required | 2 | Nos | 2359 | INR | 4718 | 4718 | INR Four Thousand Seven Hundred & Eighteen Only
2.44 | Supplying and laying 25 mm x 5 mm G.I. earth strip ISI marked at 0.5 meter below ground level as strip earth electode including soldering etc. as required | 20 | Mtr | 75 | INR | 1500 | 1500 | INR One Thousand Five Hundred Only
2.45 | Supply & Erection of Light Fixures complete with all accessories including Junction boxes, earthing, cabling, termination, pipes etc..POST TOP-40W LED Street light luminaries. Bajaj Fixture Model no BGCT W4 LED WW or equivalent-Rotary Park -II
2.46 | Decorative garden light pole suitable for post top lantern with bracket, Junction Box with hinges and locking arrangement ,MS clamp made of 50x6 mm flat, complete in all respect including 2 nos. HDPE pipe 50mm dia having 1 mtr. length each and chuck nut for cable connection etc.
2.47 | 3 m Pole suitable for post top light fixtures (Pole decorative KLITE-KP-4291 or equivalent) | 30 | Nos | 9613.44 | INR | 288403.2 | 288403.2 | INR Two Lakh Eighty Eight Thousand Four Hundred & Three and Paise Twenty Only
2.48 | Supply & Erection of Light Fixures complete with all accessories including Junction boxes, earthing, cabling, termination, pipes etc.
2.49 | POST TOP-40W LED Street light luminaries. Bajaj Fixture Model no BGCT W4 LED WW or equivalent | 25 | Nos | 13529.3 | INR | 338232.5 | 338232.5 | INR Three Lakh Thirty Eight Thousand Two Hundred & Thirty Two and Paise Fifty Only
2.5 | Uplighters for trees-9W LED uplighters luminaries. Philips 31385 or equivalent (Uplighter location will be decided as per site in charge) | 10 | Nos | 1302.82 | INR | 13028.2 | 13028.2 | INR Thirteen Thousand &Twenty Eight and Paise Twenty Only
2.51 | Street Lighting Cable, terminations,lugs etc.complete in all respects.
2.52 | Supply of 1.1kV LT Aluminium/ copper, XLPE/PVC armoured Cables
2.53 | 4C x 16 Sqmm, AL, Armd | 50 | mtr | 134.05 | INR | 6702.5 | 6702.5 | INR Six Thousand Seven Hundred & Two and Paise Fifty Only
2.54 | 3C x 6 Sqmm, AL, Armd | 280 | mtr | 70.81 | INR | 19826.8 | 19826.8 | INR Nineteen Thousand Eight Hundred & Twenty Six and Paise Eighty Only
2.55 | 3C x 1.5 Sqmm Cu UNARMD wire from Junction box to post top light | 90 | mtr | 32.81 | INR | 2952.9 | 2952.9 | INR Two Thousand Nine Hundred & Fifty Two and Paise Ninety Only
2.56 | 3C x 2.5 Sqmm ARMD copper cable from Junction box/ Feeder pillar to step light | 50 | mtr | 60.88 | INR | 3044 | 3044 | INR Three Thousand &Forty Four Only
2.57 | CABLE TERMINATION:Supply and making end termination with brass compression gland and aluminium logs for following size of PVC/XLPE insulated and PVC sheathed / XLPE aluminium cable of 1.1kv grade (without cost of cable ) as required.
2.58 | 4 X 16sqmm | 2 | Nos | 249 | INR | 498 | 498 | INR Four Hundred & Ninety Eight Only
2.59 | 3 X 6sqmm | 52 | Nos | 146 | INR | 7592 | 7592 | INR Seven Thousand Five Hundred & Ninety Two Only
2.6 | 3C x 1.5 Sqmm | 25 | Nos | 71 | INR | 1775 | 1775 | INR One Thousand Seven Hundred & Seventy Five Only
2.61 | 3C x 2.5 Sqmm | 10 | Nos | 71 | INR | 710 | 710 | INR Seven Hundred & Ten Only
2.62 | MV CABLE LAYING:Laying of one number of PVC insulated and PVC seathed / XLPE power cable of 1.1 KV grade of size not exceeding 25 mmsq direct in ground including excavation, sand cushing, protective covering and refilling the trench etc. as required | 380 | Meter | 102 | INR | 38760 | 38760 | INR Thirty Eight Thousand Seven Hundred & Sixty Only
2.63 | Supply and laying of 50mm dia HDPE pipe for lighting including all accessories, labour and materials as per approved drawings and specification and directions of engineer in charge. | 30 | Meter | 204 | INR | 6120 | 6120 | INR Six Thousand One Hundred & Twenty Only
2.64 | Earthing SystemEarthing with G.I. earth pipe 3 meter long 40 mm dia ISI marked including accessories and providing massonary enclosur with cover plate having locking arrangement and watering pipe etc with charcoal and salt as required | 2 | Nos | 2359 | INR | 4718 | 4718 | INR Four Thousand Seven Hundred & Eighteen Only
2.65 | Supplying and laying 25 mm x 5 mm G.I. earth strip ISI marked at 0.5 meter below ground level as strip earth electode including soldering etc. as required | 20 | Meter | 75 | INR | 1500 | 1500 | INR One Thousand Five Hundred Only
2.66 | Cost of Conveyance Charges of disposal of materials away from worksite minimum 5 km Lead including cost of loading unloading and transportation charges | 1981.87 | cum | 149.67 | INR | 296626.48 | 296626.48 | INR Two Lakh Ninety Six Thousand Six Hundred & Twenty Six and Paise Forty Eight Only
2.67 | Cost of Conveyance Charges of disposal of materials away from worksite minimum 5 km Lead including cost of loading unloading and transportation charges | 664.87 | cum | 149.67 | INR | 99511.09 | 99511.09 | INR Ninety Nine Thousand Five Hundred & Eleven and Paise Nine Only
2.68 | COIL EARTHING FOR POST TOP LIGHT POLE-Providing and fixing earthing arrangement with 6 SWG GI wire ,115 turns of 50mm dia, connection with bracket/cross arm pole through 20mm dia. GI protection pipe of suitable length from to connection point of pole above ground level earthing packing of char coal powder salt etc complete in all respects. | 5 | Nos | 657.79 | INR | 3288.95 | 3288.95 | INR Three Thousand Two Hundred & Eighty Eight and Paise Ninety Five Only
2.69 | Feeder Pillar-Supply installation testing & commissioning of street lighting feeder pillar with following configuration. Incoming1 No. 32 Amps, FP MCB + RCCB (100mA), 415 volts, 3 phase, 50 Hz .1 No. 40 Amps, FP contactor with auxiliary contacts, overload protection, under voltage coil. The contactor to be controlled by astronomical Timer through an Auto/Manual selector switch.MFM meter, With RS 485 , Class 1.0 with 3 Nos. CT 32/5A, CL-1.0.1 set of Phase indicating LED lights Outgoing-5 Nos 16 Amps, SP MCB, Bus bar,1 set 32 Amps, 415 volts, 3 phase 4 wire colour coded copper bus bars | 2 | Nos | 20902.18 | INR | 41804.36 | 41804.36 | INR Forty One Thousand Eight Hundred & Four and Paise Thirty Six Only
| Total for Rotary Park |  |  |  |  | 12926925.54 | 12926925.54

## Udit Nagar (hidden)
SL No | Item Description | Quantity | Unit | Estimated Rate | Currency | Total Amount without Tax | Total Amount with Taxes | Total Amount in Words
1 | Design, Development, Construction of Rotary Park-1 consisting of Civil works, Architectural works, design of benches, dust bins and Electrical works including decorative lights at Rourkela
1.01 | Dismantling of existing structures like walls, masonry, cementconcrete, Pavement whatever necessary, storing and disposal of dismantling unsuitable material with all leads and lifts upto 5km and stacking the usable materials including cost of all materials, labour, labourcess, royalties, conveyance, applicable taxes and T&P etc. complete in all respect as directed by Engineer-in-Charge.
1.02 | Plastering | 10 | SQM | 28.02 | INR | 280.2 | 280.2 | INR Two Hundred & Eighty and Paise Twenty Only
1.03 | Brickwork | 10 | CuM | 782.5 | INR | 7825 | 7825 | INR Seven Thousand Eight Hundred & Twenty Five Only
1.04 | Cement Concrete | 346.88 | Cum | 416.85 | INR | 144596.93 | 144596.93 | INR One Lakh Forty Four Thousand Five Hundred & Ninety Six and Paise Ninety Three Only
1.05 | Earthwork Excavation in all type of soil within 50 mtrs initial lead and 1.5 mtr initial lift including rough dressing and breaking clods to maximum 5 cum to 7 cm and laying in layer not exceeding 3 mtrs in depth including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 1544.13 | CUM | 145.42 | INR | 224547.3846 | 224547.3846 | INR Two Lakh Sixty Nine Thousand Seven Hundred & Fifty Nine and Paise Fifty One Only
1.06 | Earthwork Excavation in all type of soil within 50 mtrs initial lead and 1.5 mtr initial lift including rough dressing and breaking clods to maximum 5 cum to 7 cm and laying in layer not exceeding 3 mtrs in depth including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 897.21 | Cum | 145.42 | INR | 130472.28 | 130472.28 | INR One Lakh Thirty Thousand Four Hundred & Seventy Two and Paise Twenty Eight Only
1.07 | Supplying and filling in foundation trenches with available excavated earth well watered and rammed by layers not exceeding 20 cm in depth with all lead and lift including cost of all materials, labour, labour cess etc complete in all respect as directed by Engineer In Charge | 1.05 | CUM | 80.78 | INR | 84.82 | 84.82 | INR Eighty Four and Paise Eighty Two Only
1.08 | Supplying and filling in foundation trenches and plinth with sand well watered and rammed in layers not exceeding 23cm in depth with all lead and lift including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in- Charge. | 338.48 | Cum | 271.85 | INR | 92015.79 | 92015.79 | INR Ninety Two Thousand &Fifteen and Paise Seventy Nine Only
1.09 | Providing and laying plain cement concrete (1:3:6) in foundation and bottom layers of flooring using 20mm thick black hard crusher broken granite metal of approved quality from approved quarry including mixing, lowering, laying and and compacting to proper thickness, watering and curing for the required period, including cost of all material, labour, conveyance, loading and unloading, taxes, royalties, scaffolding, watering, curing, sundries, tools plants, etc., complete as per the direction of the Engineer-in-charge. | 82 | CUM | 4104.39 | INR | 336559.98 | 336559.98 | INR Three Lakh Thirty Six Thousand Five Hundred & Fifty Nine and Paise Ninety Eight Only
1.1 | Providing and laying plain cement concrete (1:2:4) with 2cm. Size crusher broken hard Granite metal including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 0.5 | Cum | 4684.89 | INR | 2342.45 | 2342.45 | INR Two Thousand Three Hundred & Forty Two and Paise Forty Five Only
1.11 | Providing strong, rigid, leveled, and plumbed centering and shuttering to required shape and size , for floors with wooden or steel centering materials with all necessary bracing and tiles and supports with leveling centering covered with bituminous paperwith provisions necessary holes and pockets for electrical conduits, pipes, P.H. pipes, for hooks or boxes, switch and board insert plates, clamps and extension bars etc., including dismantling the same after the required interval from the date of casting including cost of all materials, labour, conveyance, loading and unloading, taxes, royalties, scaffolding, watering, curing, sundries, tools and plants, etc., complete as per the direction of the Engineer-in-charge.
1.12 | Roof slab | 20 | Sqm | 334.93 | INR | 6698.6 | 6698.6 | INR Six Thousand Six Hundred & Ninety Eight and Paise Sixty Only
1.13 | Providing lifting, hoisting and laying reinforced cement concrete of grade M20 to base of columns and footing, columns, beams, plinth band,lintels, chajja, shaft, fins, roof slabs, balconies, stair cases, parapets, window sills,lofts, railing, jally, copping or in places as shown in the drawing for all floors with 12mm size black hard crusher broken chips of approved quality from approved quarry including mixing and vibro compacting to proper shape and size, level and plumbs and finishing the exposed surfaces smooth (if required, by grouting/plaster with cement mortar (1:4) wherever necessary without any extra cost) scaffolding, including, watering and curing the required period, including cost of all materials, labour, conveyance, loading and unloading, royalties, sundries, tools and plants, etc., complete as per direction of the Engineer-in-charge, but excluding cost of materials and labour for reinforcement and shuttering. | 1.5 | Cum | 3979.27 | INR | 5968.91 | 5968.91 | INR Five Thousand Nine Hundred & Sixty Eight and Paise Ninety One Only
1.14 | Supplying TMT steel reinforcement bars of grade FE 500of required diameters of approved quality including straightening, cutting to size, bending, and binding the reinforcement,lifting and placing in position as per design complete including cost of bars , binding wires 18 gauge, including cost of all materials, labour, conveyance, loading and unloading, taxes, royalties, sundries, tools and plants, etc. complete as per the direction of the Engineer-in-charge. (linear measurement will be taken and quantity will be calculated on standard weight for all heights) | 1.2 | QTL | 6429.08 | INR | 7714.9 | 7714.9 | INR Seven Thousand Seven Hundred & Fourteen and Paise Ninety Only
1.15 | Brick work with Fly ash bricks 23cm x 11cm x 8cm size with dimensional tolerance ± 8 percent in cement mortar (1:6) in foundation and plinth with all lead and lift including cost, conveyance, royalties, taxes of the material, cost of all labour, T&P etc., required for the work complete in all respect as directed by the Engineer-in-Charge. | 4.92 | CUM | 3458.77 | INR | 17017.15 | 17017.15 | INR Seventeen Thousand &Seventeen and Paise Fifteen Only
1.16 | Brick work with Fly ash bricks 23cm x 11cm x 8cm size with dimensional tolerance ± 8 percent in cement mortar (1:6) in super structure with all lead and lift including cost, conveyance, royalties, taxes of the material, cost of all labour, T&P etc., required for the work complete in all respect as directed by the Engineer-in-Charge. | 8.5 | CUM | 3492.1 | INR | 29682.85 | 29682.85 | INR Twenty Nine Thousand Six Hundred & Eighty Two and Paise Eighty Five Only
1.17 | Providing and applying 16 mm thick plaster to rough side of wall in cement mortar (1:6) on all types of external surfaces using coarse clean sand including surface preparation, curing both the coats, roughening the first coat for making key for the next coat ,bends, pattas, grooves, drip moulds, etc. and all scaffolding, curing etc., including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 281.1 | SQM | 150.84 | INR | 42401.12 | 42401.12 | INR Forty Two Thousand Four Hundred & One and Paise Twelve Only
1.18 | Providing and applying 12 mm thickplaster to plumb finised side in cement mortar (1:6) on all types of external surfaces using coarse clean sand including surface preparation, curing both the coats, roughening the first coat for making key for the next coat ,bends, pattas, grooves, drip moulds, etc. and all scaffolding, curing etc., including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 35.52 | SQM | 97.3 | INR | 3456.1 | 3456.1 | INR Three Thousand Four Hundred & Fifty Six and Paise Ten Only
1.19 | Priming one coat with any approved primer , including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 813 | SQM | 41.78 | INR | 33967.14 | 33967.14 | INR Thirty Three Thousand Nine Hundred & Sixty Seven and Paise Fourteen Only
1.2 | Weather coat Painting two coats any approved paint on the outer side wall including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 813 | SQM | 53.59 | INR | 43568.67 | 43568.67 | INR Forty Three Thousand Five Hundred & Sixty Eight and Paise Sixty Seven Only
1.21 | Enamel Painting 2 coat with 1 coat primer with any approved paint on Ms grill painting including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 164 | SQM | 91.3 | INR | 14973.2 | 14973.2 | INR Fourteen Thousand Nine Hundred & Seventy Three and Paise Twenty Only
1.22 | Construction of granular sub-base providing close coarse grade granular sub-base material as per table -100-1, spreading in uniform layers with grader not exceeding 225mm thick on prepared surface, mixing by mix in place method with rotavator at OMC, and compacting with vibratory roller to achieve the desired density complete as per clause 401 of MOSRT&H pecifications for Road & Bridges work (Latest Revision) including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 560 | Cum | 594.7 | INR | 333032 | 333032 | INR Three Lakh Thirty Three Thousand &Thirty Two Only
1.23 | Cast in situ Kerb: Providing and castind in situ RCC M20 barrier type Kerb without gutter embedded 125 mm below ground level over M10 PCC finished neatly with CM. 1:3, setting the same in CM 1:3, including the required excavationin any strata and removing the excavated stuff and redoing the surface as specified and directed by Engineer-in-Charge. | 4165 | RMT | 390.32 | INR | 1625682.8 | 1625682.8 | INR Sixteen Lakh Twenty Five Thousand Six Hundred & Eighty Two and Paise Eighty Only
1.24 | Providing and fixing 25 mm thk Kota stone tiles for tile edging between plantation as per details and as directed by Engineer-in- Charge.
1.25 | For Tile Edging between plantation | 312 | SQM | 898.93 | INR | 280466.16 | 280466.16 | INR Two Lakh Eighty Thousand Four Hundred & Sixty Six and Paise Sixteen Only
1.26 | For Treads / copings | 50 | SQM | 847.65 | INR | 42382.5 | 42382.5 | INR Forty Two Thousand Three Hundred & Eighty Two and Paise Fifty Only
1.27 | Supply, fixing and installation of FRP Straight sitting with handrail and backrest as per the approved drawing including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 15 | Nos | 17751 | INR | 266265 | 266265 | INR Two Lakh Sixty Six Thousand Two Hundred & Sixty Five Only
1.28 | Providing and laying factory made Cement Concrete paver blocks of 60 mm thick and M-30 grade of concrete of required strength, thickness & size/shape, made by table vibratory method , to attain superior smooth finish using PU or equivalent moulds, laid in required Grey colour & pattern over 50mm thick compacted bed of coarse sand, compacting and proper embedding / laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with jamuna sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand in footpath, parks, lawns, drive ways or light traffic parking etc.,including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge & manufacturer’s specifications
1.29 | Paver Block 60 MM | 850 | Sqm | 575.3 | INR | 489005 | 489005 | INR Four Lakh Eighty Nine Thousand &Five Only
1.3 | Supplying and fitting fixing of the 12mm TEETTILE of size 300x300 mm for physical handicapped person to indicate the correct path to follow and to give a warning signal as per specification and guideline provided by chief commissioner for person with disability laying in floors and treated on step, landing etc., on C.M bed of tiles with cement slurry mixed with pigmetal to match the shed etc complete including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 1940 | Sqm | 1097 | INR | 2128180 | 2128180 | INR Twenty One Lakh Twenty Eight Thousand One Hundred & Eighty Only
1.31 | Supply , providing and laying natural unpolished mixed colour Colour Pebbles of Diameter size 5mm to 20 mm(laid in 50mm THK Layer) over a sand bed of 50 mm thick over a compacted base earthen base comlete including all cost of peeble, labour etc. complete as per direction of Engineer in Charge(Cost of sand will be measured and paid separately) | 15 | Sqm | 4878.07 | INR | 73171.05 | 73171.05 | INR Seventy Three Thousand One Hundred & Seventy One and Paise Five Only
1.32 | Supply , providing and laying natural unpolished Black Colour Pebbles of Diameter size 30mm to 50 mm(laid in 100mm THK Layer) over a sand bed of 50 mm thick over a compacted base earthen base comlete including all cost of peeble, labour etc. complete as per direction of engineer in Charge( Cost of sand will be measured & paid separately) | 18 | SQM | 7450.21 | INR | 134103.78 | 134103.78 | INR One Lakh Thirty Four Thousand One Hundred & Three and Paise Seventy Eight Only
1.33 | Grasspavers: (Precast paver block with 50% grass area) (Size: 450mmX450mmX60mm) Providing and fixing at ground levels, pre cast cement concrete grass pavers as per drawing with M30 grade concrete (Min cement content 380 kg/cum) and setting in position over 50 mm thick sand layer etc complete as directed by Engineer. | 560 | SQM | 2031.49 | INR | 1137634.4 | 1137634.4 | INR Eleven Lakh Thirty Seven Thousand Six Hundred & Thirty Four and Paise Forty Only
1.34 | Providing and fixing in position self standing dust Bin of approved design and make of minimum height of 0.85 meter dia 0.60 meter (capacity min 80 ltrs) designed for accommodating dry as well as wet kind of trash in the garden made out of in pure polyester Fiberglass Reinforced Plastic (UV resistant finishing) of 2mm thk with matt finish including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 10 | Nos | 2460 | INR | 24600 | 24600 | INR Twenty Four Thousand Six Hundred Only
1.35 | Play Equipments : Design and supply of Play Equipments, as per the approval and complete satisfaction of engineer in charge
1.36 | Multi station play gym | 2 | Nos | 185265.17 | INR | 370530.34 | 370530.34 | INR Three Lakh Seventy Thousand Five Hundred & Thirty and Paise Thirty Four Only
1.37 | Slides (Plain slide) | 2 | Nos | 77136.63 | INR | 154273.26 | 154273.26 | INR One Lakh Fifty Four Thousand Two Hundred & Seventy Three and Paise Twenty Six Only
1.38 | See-saw set of 2 | 2 | Nos | 23687.63 | INR | 47375.26 | 47375.26 | INR Forty Seven Thousand Three Hundred & Seventy Five and Paise Twenty Six Only
1.39 | Merry-go-round | 2 | Nos | 58915.38 | INR | 117830.76 | 117830.76 | INR One Lakh Seventeen Thousand Eight Hundred & Thirty and Paise Seventy Six Only
1.4 | Double Plain Swing | 2 | Nos | 34620.38 | INR | 69240.76 | 69240.76 | INR Sixty Nine Thousand Two Hundred & Forty and Paise Seventy Six Only
1.41 | Outdoor Gym Equipments : Design and supply of Outdoor Gym Equipments, as per the approval and complete satisfaction of engineer in charge
1.49 | E- Toilet for Physically challenged Supply and installation of E- toilets (Size of the unit- 2.3 M x 1.5 M x 2.0 M) The rates are including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in- Charge. | 1 | Nos | 184765.63 | INR | 184765.63 | 184765.63 | INR One Lakh Eighty Four Thousand Seven Hundred & Sixty Five and Paise Sixty Three Only
1.5 | Supply of good quality garden soil preferably red alluvial/sandy loam with texture neither too coarse nor too fine with a fair degree of water retaining capacity including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in- Charge. | 1211.97 | CUM | 150 | INR | 181795.5 | 181795.5 | INR One Lakh Eighty One Thousand Seven Hundred & Ninety Five and Paise Fifty Only
1.51 | Supplying of approved good quality cow dung manure well decomposed garbage free including loading, unloading and delivery at site with all leads and lifts including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 430 | CUM | 694 | INR | 298420 | 298420 | INR Two Lakh Ninety Eight Thousand Four Hundred & Twenty Only
1.52 | Lifting & Spreading of soil uniformly over the surface area as per landscape design/advice of the site engineer including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 1641.97 | CUM | 52 | INR | 85382.44 | 85382.44 | INR Eighty Five Thousand Three Hundred & Eighty Two and Paise Forty Four Only
1.53 | Supply of Korian grass well grown disease free, carpet formed, 2” thickness. In 1:5 i.e 600 sqm. including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 1200 | SQM | 150 | INR | 180000 | 180000 | INR One Lakh Eighty Thousand Only
1.54 | Supply of doob grass well grown disease free, carpet formed, 2” thickness. In 1:5 i.e 600 sqm. including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 1980 | SQM | 148.49 | INR | 294010.2 | 294010.2 | INR Two Lakh Ninety Four Thousand &Ten and Paise Twenty Only
1.55 | Dibbling of broad leaf grass including watering, rolling including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 3180 | SQM | 5 | INR | 15900 | 15900 | INR Fifteen Thousand Nine Hundred Only
1.56 | Trees & Palms: Supply and stacking well developed tree sapllings of approved mix of species including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge.
1.57 | Roystonea regia | 85 | Nos | 115 | INR | 9775 | 9775 | INR Nine Thousand Seven Hundred & Seventy Five Only
1.58 | Plumeria alba | 11 | Nos | 368 | INR | 4048 | 4048 | INR Four Thousand &Forty Eight Only
1.59 | Terminalia Arjuna | 21 | Nos | 138 | INR | 2898 | 2898 | INR Two Thousand Eight Hundred & Ninety Eight Only
1.6 | Mesua ferrea | 28 | Nos | 425.5 | INR | 11914 | 11914 | INR Eleven Thousand Nine Hundred & Fourteen Only
1.61 | Lagerstroemia sp | 7 | Nos | 161 | INR | 1127 | 1127 | INR One Thousand One Hundred & Twenty Seven Only
1.62 | Erythrina Indica Varigated | 3 | Nos | 368 | INR | 1104 | 1104 | INR One Thousand One Hundred & Four Only
1.63 | Peltophorum Pterocarpum | 3 | Nos | 80.5 | INR | 241.5 | 241.5 | INR Two Hundred & Forty One and Paise Fifty Only
1.64 | Commiphora Wighiti(Guggul) | 2 | Nos | 138 | INR | 276 | 276 | INR Two Hundred & Seventy Six Only
1.65 | Saraca Asoca(Sita Ashok) | 2 | Nos | 92 | INR | 184 | 184 | INR One Hundred & Eighty Four Only
1.66 | Terminalia Chebula(Hirada) | 3 | Nos | 276 | INR | 828 | 828 | INR Eight Hundred & Twenty Eight Only
1.67 | Aegle marmelous(bel) | 2 | Nos | 207 | INR | 414 | 414 | INR Four Hundred & Fourteen Only
1.68 | Terminalia Bellercia(Behada) | 3 | Nos | 230 | INR | 690 | 690 | INR Six Hundred & Ninety Only
1.69 | Bambusa Vulgaris | 25 | Nos | 207 | INR | 5175 | 5175 | INR Five Thousand One Hundred & Seventy Five Only
1.7 | Shrubs & Hedges: Supply and stacking well developed tree sapllings below 0.6 hight well branched in polybag 30x20cm of approved mix of species including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respectas directed by Engineer-in-Charge.
1.71 | Lantana Yellow | 788 | Nos | 69 | INR | 54372 | 54372 | INR Fifty Four Thousand Three Hundred & Seventy Two Only
1.72 | Heelia Camara depressa | 1238 | Nos | 80.5 | INR | 99659 | 99659 | INR Ninety Nine Thousand Six Hundred & Fifty Nine Only
1.73 | Lantana Camara depressa | 525 | Nos | 69 | INR | 36225 | 36225 | INR Thirty Six Thousand Two Hundred & Twenty Five Only
1.74 | Duranta Varigated | 675 | Nos | 28.75 | INR | 19406.25 | 19406.25 | INR Nineteen Thousand Four Hundred & Six and Paise Twenty Five Only
1.75 | Nerium Olenander Dwarf | 130 | Nos | 57.5 | INR | 7475 | 7475 | INR Seven Thousand Four Hundred & Seventy Five Only
1.76 | Plumeria Pudica | 250 | Nos | 69 | INR | 17250 | 17250 | INR Seventeen Thousand Two Hundred & Fifty Only
1.77 | Murraya Paniculata | 195 | Nos | 28.75 | INR | 5606.25 | 5606.25 | INR Five Thousand Six Hundred & Six and Paise Twenty Five Only
1.78 | Cestrum Nocturnum | 170 | nos | 46 | INR | 7820 | 7820 | INR Seven Thousand Eight Hundred & Twenty Only
1.79 | Bouganvillea Glabara | 850 | Nos | 29.9 | INR | 25415 | 25415 | INR Twenty Five Thousand Four Hundred & Fifteen Only
1.8 | Polianthes Tuberosa | 675 | Nos | 51.75 | INR | 34931.25 | 34931.25 | INR Thirty Four Thousand Nine Hundred & Thirty One and Paise Twenty Five Only
1.81 | Jasminum Sambac | 1088 | Nos | 34.5 | INR | 37536 | 37536 | INR Thirty Seven Thousand Five Hundred & Thirty Six Only
1.82 | Tinospora Cordifolio | 375 | Nos | 46 | INR | 17250 | 17250 | INR Seventeen Thousand Two Hundred & Fifty Only
1.83 | Coleus Babatus(Patharchur) | 600 | Nos | 46 | INR | 27600 | 27600 | INR Twenty Seven Thousand Six Hundred Only
1.84 | Ocimum tenuflorium(Tulsi) | 375 | Nos | 25.3 | INR | 9487.5 | 9487.5 | INR Nine Thousand Four Hundred & Eighty Seven and Paise Fifty Only
1.85 | Verbena Officinalis | 1538 | Nos | 46 | INR | 70748 | 70748 | INR Seventy Thousand Seven Hundred & Forty Eight Only
1.86 | Golden Duranta | 1350 | Nos | 20.7 | INR | 27945 | 27945 | INR Twenty Seven Thousand Nine Hundred & Forty Five Only
1.87 | Groundcovers and Shrubbery: Supply and stacking of groundcover and shrubbery elow 0.3 hight well branched in polybag 30x20cm of approved mix of species including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge.
1.88 | Asperagaus Meyerii | 638 | Nos | 51.75 | INR | 33016.5 | 33016.5 | INR Thirty Three Thousand &Sixteen and Paise Fifty Only
1.89 | Plumbago Capensis Blue | 255 | Nos | 51.75 | INR | 13196.25 | 13196.25 | INR Thirteen Thousand One Hundred & Ninety Six and Paise Twenty Five Only
1.9 | Cymbopogon Citratus | 263 | Nos | 40.25 | INR | 10585.75 | 10585.75 | INR Ten Thousand Five Hundred & Eighty Five and Paise Seventy Five Only
1.91 | Withana Somnifera | 638 | Nos | 51.75 | INR | 33016.5 | 33016.5 | INR Thirty Three Thousand &Sixteen and Paise Fifty Only
1.92 | Providing all material, tools & plants and construction of splash pool with water jet including all plumbing electrical & mechanical work | 1 | Set | 1612500 | INR | 1612500 | 1612500 | INR Sixteen Lakh Twelve Thousand Five Hundred Only
1.93 | Supply and installation of FRP Gazebo as per drawings and details and as directed by Engineer-in- Charge. | 1 | Nos | 314102.31 | INR | 314102.31 | 314102.31 | INR Three Lakh Fourteen Thousand One Hundred & Two and Paise Thirty One Only
1.94 | Providing and installation 1 HP water pump including all electrical works, mechanical and piping works. | 1 | Set | 11121.65 | INR | 11121.65 | 11121.65 | INR Eleven Thousand One Hundred & Twenty One and Paise Sixty Five Only
| Cost of Conveyance Charges for disposal of materials away | 1254.09 | CUM | 149.67 | INR | 187699.6503 | 187699.6503 | INR One Lakh Eighty Seven Thousand & Six hundred ninety nine and seventy paise only
1.95 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, ISI : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 2000 | Ltr | 7.25 | INR | 14500 | 14500 | INR Fourteen Thousand Five Hundred Only
1.96 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :65MM Dia | 4 | Nos | 1287.75 | INR | 5151 | 5151 | INR Five Thousand One Hundred & Fifty One Only
1.97 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :50MM Dia | 4 | Nos | 750.75 | INR | 3003 | 3003 | INR Three Thousand &Three Only
1.98 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :40MM Dia | 4 | Nos | 585.5 | INR | 2342 | 2342 | INR Two Thousand Three Hundred & Forty Two Only
1.99 | Providing laying medium duty GI pipe including fittings. 65mm dia | 250 | RMT | 524.25 | INR | 131062.5 | 131062.5 | INR One Lakh Thirty One Thousand &Sixty Two and Paise Fifty Only
2 | Providing laying medium duty GI pipe including fittings. 50mm dia | 200 | RMT | 399.5 | INR | 79900 | 79900 | INR Seventy Nine Thousand Nine Hundred Only
2.01 | Providing laying medium duty GI pipe including fittings. 40mm dia | 200 | RMT | 334.15 | INR | 66830 | 66830 | INR Sixty Six Thousand Eight Hundred & Thirty Only
2.02 | Providing laying medium duty GI pipe including fittings. 20mm dia | 30 | RMT | 209.95 | INR | 6298.5 | 6298.5 | INR Six Thousand Two Hundred & Ninety Eight and Paise Fifty Only
2.03 | Providing and fixing Bib cock. 20mm dia | 30 | Nos | 280.95 | INR | 8428.5 | 8428.5 | INR Eight Thousand Four Hundred & Twenty Eight and Paise Fifty Only
2.04 | Providing and fixing Stop cock 20mm dia | 30 | Nos | 280.95 | INR | 8428.5 | 8428.5 | INR Eight Thousand Four Hundred & Twenty Eight and Paise Fifty Only
2.05 | Supply and installation Cycle Parking stainless steel sections using 50mm dia and 2mm thick pipe as per drawings and details and as directed by Engineer-in- Charge. | 53.46 | Kg | 325.84 | INR | 17419.41 | 17419.41 | INR Seventeen Thousand Four Hundred & Nineteen and Paise Forty One Only
2.06 | Supplying, fitting and fixing of approved quality of fabricated iron doors & windows with angle iron door frame of size (40x40x5)mm, MS flat of size (25x5)mm and 1mm thick M.S. sheet including priming etc complete as per the specification and direction of the engineer in charge. | 79 | Kg | 68 | INR | 5372 | 5372 | INR Five Thousand Three Hundred & Seventy Two Only
2.07 | Providing 2.5cm. A.S.flooring with cement concrete (1:2:4) including punning using 12mm size HGCB chips. | 6 | Sqm | 222.38 | INR | 1334.28 | 1334.28 | INR One Thousand Three Hundred & Thirty Four and Paise Twenty Eight Only
2.08 | Finishing walls with water proof cement paint Two coat on new work | 63.52 | Sqm | 24.76 | INR | 1572.76 | 1572.76 | INR One Thousand Five Hundred & Seventy Two and Paise Seventy Six Only
2.09 | Supplying and fixing of 12mm thick accupressure tile of size 300x300 mm as per specification on 12mm thick 1:4 cement mortar bed with cement slurry mixed with pigmetal to match the shed etc complete including cost of all materials, labour, labour cess, royalties, conveyance, applicable taxes and T&P etc.complete in all respect as directed by Engineer-in-Charge. | 55 | Sqm | 904.61 | INR | 49753.55 | 49753.55 | INR Forty Nine Thousand Seven Hundred & Fifty Three and Paise Fifty Five Only
2.1 | Supply & Erection of Light Fixures complete with all accessories including Junction boxes, earthing, cabling, termination, pipes etc..POST TOP-40W LED Street light luminaries. Bajaj Fixture Model no BGCT W4 LED WW or equivalent
2.11 | Step lights - 12W LED. K-lite Fixture Model No 2735 or equivalent | 8 | Nos | 4324.08 | INR | 34592.64 | 34592.64 | INR Thirty Four Thousand Five Hundred & Ninety Two and Paise Sixty Four Only
2.12 | Tree-Uplighter 7W | 30 | Nos | 1302.82 | INR | 39084.6 | 39084.6 | INR Thirty Nine Thousand &Eighty Four and Paise Sixty Only
2.13 | Guard room and Handicapped Toilet.Point wiring for 5A /6Amp socket outlet with 2 X 1.5sq.mm FR PVC insulated single core multistrand copper conductor of ISI marked in recess 20mm dia non-metallic PVC flexible conduit with piano type switch, Phenolic laminated sheet suitable size ISI marked MS box and earthing point with 1 X 1.5sq.mm FR PVC insulated single core multistrand copper conductor for loop earthing etc. as required (Make of wire -Finolex/ L&T/ Anchor/ Havells/V-Guard/HPL) | 1 | Nos | 416 | INR | 416 | 416 | INR Four Hundred & Sixteen Only
2.14 | Recessed wiring to light point/Fan point/ Exhaust fan point/Call bell point with 1.5 sq.mm FR PVC insulated single core multistrand copper conductor of ISI marked with 20 mm dia non-metallic PVC flexible conduit with 5Amp, 250V piano type switch ISI marked and ceiling rose ISI marked mounted on MS box having front bakelite cover of suitable size, MS box with 1.5 sq.mm FR PVC insulated single core multistrand copper conductor as earth wire including all accessories and connection as per direction of Engineer in Charge(Make of wire-Finolex/L&T/Anchor/Havells/V-Guard/HPL) -Group-A | 3 | Nos | 407 | INR | 1221 | 1221 | INR One Thousand Two Hundred & Twenty One Only
2.15 | Mounting rail type fixture suitable for LED tube, 18W complete in all respects as required. | 2 | Nos | 539 | INR | 1078 | 1078 | INR One Thousand &Seventy Eight Only
2.16 | S/F of wall fan of model Usha striker high speed/Bajaj Midea BW 2200 | 1 | Nos | 2692 | INR | 2692 | 2692 | INR Two Thousand Six Hundred & Ninety Two Only
2.17 | Street Lighting Cable, terminations,lugs etc.complete in all respects.Supply of 1.1kV LT Aluminium/ copper, XLPE/PVC armoured Cables-3C x 2.5 Sqmm Cu UNARMD wire from Junction box to post top light | 190 | Mtr | 61 | INR | 11590 | 11590 | INR Eleven Thousand Five Hundred & Ninety Only
2.18 | Supply and making end termination with brass compression gland and aluminium logs for following size of PVC/XLPE insulated and PVC sheathed / XLPE aluminium cable of 1.1kv grade (without cost of cable ) as required.-3C x 1.5 Sqmm UNARMD copper cable from Junction box to Post top | 8 | Nos | 71 | INR | 568 | 568 | INR Five Hundred & Sixty Eight Only
2.19 | Supply and making end termination with brass compression gland and aluminium logs for following size of PVC/XLPE insulated and PVC sheathed / XLPE aluminium cable of 1.1kv grade (without cost of cable ) as required.-3C x 2.5 Sqmm ARMD copper cable from Junction box/ Feeder pillar to uplighters | 30 | Nos | 71 | INR | 2130 | 2130 | INR Two Thousand One Hundred & Thirty Only
2.2 | Laying of one number of PVC insulated and PVC seathed / XLPE power cable of 1.1 KV grade of size not exceeding 25 mmsq direct in ground including excavation, sand cushing, protective covering and refilling the trench etc. as required | 190 | Mtr | 102 | INR | 19380 | 19380 | INR Nineteen Thousand Three Hundred & Eighty Only
[6 empty] | 12945007.9149 | 12945007.9149
0